| Part 2 | Draft Contract |  |  |
| --- | --- | --- | --- |
|  | Annex E-1 | Logistic Support Specification Portable Meteorological Sounding System |  |

TABLE OF CONTENTS

1	Scope	3

1.1	Identification	3

1.2	System overview	3

1.3	Standards for interpretation of this specification	3

2	Applicable documents	4

2.1	General	4

2.2	Referenced documents	4

2.3	Order of precedence	4

3	Requirements	5

3.1	Training and training equipment specification	5

3.2	Technical publication specification	6

3.3	Support equipment specification	6

3.4	Spare parts specification	7

3.5	Consumables specification	7

3.6	Required Reply (LSSR) not associated with a particular requirement (LSS)	8

Appendixes

Scope

Identification

This specification defines the requirements for the logistic support for the portable meteorological sounding system.

Norwegian Defence Materiel Agency shall procure a new portable meteorological sounding system.

Some of the requirements refer to the equipment itself, and some requirements refer to training and support of the system.

System overview

See “Part II Annex E-1 System Segment Specification”.

Standards for interpretation of this specification

Throughout the specifications, the following standards shall apply:

- Whenever requirements are stated herein to "include" a group of items, parameters, and/or other considerations, "include" shall be construed to mean, "Included but not limited to."

- Whenever reference is made to a section, task and/or paragraph, the reference shall be construed to include all subordinate and referenced paragraphs.

- "Will" statements are non-mandatory, and/or they imply intent on the part of the Purchaser.

- The expression “and/or” shall be interpreted to mean “inclusive or”, i.e. all specified conditions shall be satisfied, not necessarily simultaneously.

Applicable documents

General

In this specification, reference to documents might be done directly in the text or indirectly by reference to the table in chapter 2.2.

Referenced documents

The following documents of the specified issue, shown in the table below, are part of this specification to the extent specified herein. In the event of conflict between the documents referenced and the contents of this specification, the contents of this specification is to be considered the superseding requirement.

| Doc # | Identification | Title | Comment |
| --- | --- | --- | --- |
|  |  | Part II Annex E-1 System Segment Specification |  |

Order of precedence

In the event of a conflict between the text of this document and the references cited herein, the text of this document takes precedence. Nothing in this document, however, supersedes applicable laws and regulations unless a specific exemption has been obtained.

Requirements

For description of Missions, Scenarios and Use profile, refer to Annex E-1

Training and training equipment specification

| Requirement | Accept Yes/No | Bidder’s reply (Bidder shall reply to each Required Reply (LSSR) e.g. performance, reference to specifications/tests etc.) |
| --- | --- | --- |
| Training Courses - The Contractor SHALL provide a training course for setup, operation, post-analysis, fault finding and operator level maintenance at Purchaser’s location at the time of delivery of the system. |  |  |
| Training Courses - The Contractor SHALL propose an outline for the training course, the duration of the course and requirements regarding teaching facilities. |  |  |

Technical publication specification

| Requirement | Accept Yes/No | Bidder’s reply (Bidder shall reply to each Required Reply (LSSR) e.g. performance, reference to specifications/tests etc.) |
| --- | --- | --- |
| - LSS 3 Documentation - The Contractor SHALL deliver a maintenance plan identifying all maintenance tasks for scheduled and corrective maintenance. |  |  |

Support equipment specification

| Requirement | Accept Yes/No | Bidder’s reply (Bidder shall reply to each Required Reply (LSSR) e.g. performance, reference to specifications/tests etc.) |
| --- | --- | --- |
| - LSS 4 Online support - The Contractor SHALL be available to deliver remote support, via telephone and/or remote access, during NDMA’s core working hours (09:00–14:30 Norwegian local time). |  |  |
| - LSS 5 Software update - The Contractor SHALL ensure that the software remains compatible with supported versions of the Windows operating system throughout the system’s lifetime. |  |  |

Consumables specification

| Requirement | Accept Yes/No | Bidder’s reply (Bidder shall reply to each Required Reply (LSSR) e.g. performance, reference to specifications/tests etc.) |
| --- | --- | --- |
| - LSS 6 Consumables, scope of delivery - The Supplier SHALL deliver consumables (radiosondes, unwinders and balloons) conforming to the specifications in the System Segment Specification [Doc E-2 1] throughout the expected functional lifetime of the System (10 years), as specified in the System Segment Specification [Doc E-2 1]. |  |  |
| - LSS 7 The Supplier SHALL provide NDMA with a list of all compatible consumables, e.g. radiosondes, unwinders and balloons, and present this information in a table listing part number, description, expected end of life date. |  |  |