## BKK GIS + spares and tools
This sheet represent the bays BKK will be the owner of.
Tenderer:
Pkt / Item | Beskrivelse / Description | Enhet / Unit | Ant / Quantity | Enh.pris / Unit price |  | Total
| General preformences (total for the delivery) |  |  | NOK | EUR | NOK | EUR
| Project Management | lump sum |  |  |  | 0 | 0
| Insurance and guarantees | lump sum |  |  |  | 0 | 0
| Rig and operation | lump sum |  |  |  | 0 | 0
| TOTAL PRICE General preformences |  |  |  |  | 0 | 0
| 145 kV GIS layout enviromental friendly gas - owened by BKK |  |  | NOK | EUR | NOK | EUR
1.1 | Bay with 2 Circuit.breaker with cable Feeder and LPIT: Gassisolert apparatanlegg med to SSK / to kombinerte skille- og jordbrytere / to effektbrytere /LPIT / to kombinerte skille- og jordbrytere / 1 hurtigjordkniv / avgang med gassisolerte rørføringer/ Kabel gjennomføringer / Lokalt kontrollpanel Gas insulated switchgear bay with two busbars / two combined disconnecting and earthing switches / two circuit-breakers / LPIT/ two combined disconnecting and earthing switches / one line fast acting earthing switch / 3 cable terminations/ LCC | felt / bay | 2 |  |  | 0 | 0
1.2 | OPTION Bay with 2 Circuit.breaker with cable Feeder and LPIT: Gassisolert apparatanlegg med to SSK / to kombinerte skille- og jordbrytere / to effektbrytere /LPIT / to kombinerte skille- og jordbrytere / 1 hurtigjordkniv / avgang med gassisolerte rørføringer/ Induktiv Spening Trafo/ Kabel gjennomføringer / Lokalt kontrollpanel Gas insulated switchgear bay with two busbars / two combined disconnecting and earthing switches / two circuit-breakers / LPIT/ two combined disconnecting and earthing switches / one line fast acting earthing switch / Inductive voltage transformer/ 3 cable terminations/ LCC | felt / bay | 5 |  |  | 0 | 0
2 | Bus bar disconnector with drive, remotely operated (one for each busbar). | felt / bay | 1 |  |  | 0 | 0
3 | Jordingsanlegg for ett felt / Earthing system of the GIS for one bay. | felt / bay | 7 |  |  | 0 | 0
4 | Målefelt medLPIT (induktiv spenningstransformator) for fase L2 og hurtig jordkniv på enden av dobbel samleskinne for SSK-A og SSK-B/lokalt kontrollpanel / Measuring bay with LPIT (inductive voltage transformer) for L2 and fast acting earthing switch at the end of the two busbars SSK-A and SSK-B/LCC. | målefelt / measuring bay | 2 |  |  | 0 | 0
5 | Necessary support steel structures of the complete GIS system. | felt / bay | 7 |  |  | 0 | 0
6 | Høyspenningstest / High voltage test. | lump sum |  |  |  | 0 | 0
7 | Montasje / Installation. | lump sum |  |  |  | 0 | 0
8 | Prøving og idriftsettelse / Testing and commissioning. | lump sum |  |  |  | 0 | 0
9 | Teknisk bearbeiding / Engineering and design. | lump sum |  |  |  | 0 | 0
10 | Dokumentasjon / documentation. | lump sum |  |  |  | 0 | 0
11 | Transportkostnader/Transportation | lump sum |  |  |  | 0 | 0
12 | OPTION SDOK-41-52 : Bus bar manual isolating link fullfilling isolating distance without drive. | sett / set | 1 |  |  | 0
13 | OPTION i SDOK-41-52 : Extension opsjon busbar end with a disconnector and earthing switch. | sett / set | 1 |  |  | 0
14 | OPTION: Online Monitoring System as per SDOK-41-34 (Chapter 12) and SDOK-41-38 (chapter 27) | felt / bay | 2
15 | OPTION: Opplæring som beskrevet i SDOK-41-38 og SDOK-41-34 / Training as per SDOK-41-38 and SDOK-41-34 | lump sum |  |  |  | 0 | 0
16 | OPTION: Timerate for endringsarbeider / Time rate for variations of scope | hours | 100 |  |  | 0 | 0
| TOTAL PRICE GIS 145 kV GIS |  |  |  |  | 0 | 0
Pkt / Item | Beskrivelse / Description | Enhet / Unit | Ant / Quantity | Enh.pris / Unit price |  | Total
Spare parts / tools |  |  |  | NOK | EUR | NOK | EUR
| 145 kV GIS- owened by BKK |  |  |  |  | 0 | 0
1 | One assembled ‘half bay’ as per GIS Special Specifications Sdok 41-34, Chapter 10 ; • 1 pcs. Three-phase circuit breaker • 1 pcs. Three-phase current transformer • 1 pcs. Three-phase inductive voltage transformer • 2 pcs. Three-phase disconnectors • 2 pcs. Three-phase earthing switches • 1 pcs. Three-phase fast acting earthing-switch | lump sum | 1 |  |  | 0 | 0
2 | Extra/Reserve Gas as per SDOK-41-34 (Chapter 11) | lump sum | 1 |  |  | 0 | 0
3 | Necessary GIS Tools per SDOK-41-34 (Chapter 11) | lump sum | 1 |  |  | 0 | 0
4 | Gas Cart | per unit | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
Norsk: I skjemaet under skal alle relevante gule rubrikker fylles ut av leverandør. Rubrikker med grå farge skal ikke redigeres av leverandøren. Hvis leverandør oppdager at skjemaet er ufullstendige eller inneholder feil, skal leverandøren så raskt som mulig underrette Statnett kontaktperson.
English: Tenderer shall finn inn recommended consumables, spareparts and special tools in sheet below. In the form below all the relevant yellow boxes shall be filled in by the supplier. Boxes with grey colour are not to be edited by the supplier. If for any reason, the form is found to be incomplete or containing errors the supplier shall without delay inform the Statnett contact person.
Norsk: I skjemaet under skal alle relevante gule rubrikker fylles ut av leverandør. Rubrikker med grå farge skal ikke redigeres av leverandøren. Hvis leverandør oppdager at skjemaet er ufullstendige eller inneholder feil, skal leverandøren så raskt som mulig underrette Statnett kontaktperson.
English: In the form below all the relevant yellow boxes shall be filled in by the supplier. Boxes with grey colour are not to be edited by the supplier. If for any reason, the form is found to be incomplete or containing errors the supplier shall without delay inform the Statnett contact person.

## SN GIS + spares and tools
This sheet represent the bays Statnett will be the owner of.
Tenderer:
Pkt / Item | Beskrivelse / Description | Enhet / Unit | Ant / Quantity | Enh.pris / Unit price |  | Total
| 145 kV GIS layout enviromental friendly gas - owened by Statnett |  |  | NOK | EUR | NOK | EUR
1 | Bay with 2 Circuit.breaker with cable Feeder and VT: Gassisolert apparatanlegg med to SSK / to kombinerte skille- og jordbrytere / to effektbrytere / to strømtransformatorer / to kombinerte skille- og jordbrytere / 1 hurtigjordkniv / avgang med gassisolerte rørføringer/ Induktiv Spening Trafo/ Kabel gjennomføringer / Lokalt kontrollpanel Gas insulated switchgear bay with two busbars / two combined disconnecting and earthing switches / two circuit-breakers / two current transformers/ two combined disconnecting and earthing switches / one line fast acting earthing switch / Inductive voltage transformer/ 3 cable terminations/ LCC | felt / bay | 3 |  |  | 0 | 0
2 | Jordingsanlegg for ett felt / Earthing system of the GIS for one bay. | felt / bay | 4 |  |  | 0 | 0
3 | RCVT (Resistive Capacitive Voltage Transfomer) (L1, L2, L3 SSK-A). | enfase / single-phase | 3 |  |  | 0 | 0
4 | Necessary support steel structures of the complete GIS system. | felt / bay | 4 |  |  | 0 | 0
5 | OPTION: Online Monitoring System as per SDOK-41-34 (Chapter 12) and SDOK-41-38 (chapter 27) | felt / bay | 3 |  |  | 0 | 0
| TOTAL PRICE GIS 145 kV GIS |  |  |  |  | 0 | 0
Pkt / Item | Beskrivelse / Description | Enhet / Unit | Ant / Quantity | Enh.pris / Unit price |  | Total
Spare parts / tools |  |  |  | NOK | EUR | NOK | EUR
145 kV GIS - owened by Statnett
1 | One assembled ‘half bay’ as per GIS Special Specifications Sdok 41-34, Chapter 10 ; • 1 pcs. Three-phase circuit breaker • 1 pcs. Three-phase current transformer • 1 pcs. Three-phase inductive voltage transformer • 2 pcs. Three-phase disconnectors • 2 pcs. Three-phase earthing switches • 1 pcs. Three-phase fast acting earthing-switch | lump sum | 1 |  |  | 0 | 0
2 | Extra/Reserve Gas as per SDOK-41-34 (Chapter 11) | lump sum | 1 |  |  | 0 | 0
3 | Necessary GIS Tools per SDOK-41-34 (Chapter 11) | lump sum | 1 |  |  | 0 | 0
4 | Gas Cart | per unit | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
Norsk: I skjemaet under skal alle relevante gule rubrikker fylles ut av leverandør. Rubrikker med grå farge skal ikke redigeres av leverandøren. Hvis leverandør oppdager at skjemaet er ufullstendige eller inneholder feil, skal leverandøren så raskt som mulig underrette BKK kontaktperson.
English: In the form below all the relevant yellow boxes shall be filled in by the supplier. Boxes with grey colour are not to be edited by the supplier. If for any reason, the form is found to be incomplete or containing errors the supplier shall without delay inform the BKK contact person.