|  |  |  | Appendix B GIS spesification |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Adr..: Statnett SF Technology Nydalen allé 33 PB 4904 Nydalen 0423 Oslo |  |  | Title GIS Ampacity Permanent and temporary overload 132kV GIS Øygarden substation (ØYG) |  |  |  |  |
| Classification Sensitive |  |  | Project 30094 – SSMK |  |  |  |  |
| Responsible NTA |  |  | Document no. IFS 4102274 |  |  | Number of pages 8 |  |
| Client |  |  | Client’s Contact Person |  |  | Order number |  |
| This appendix B provides the thermal behavior of the GIS equipment. This will allow Statnett to control on a dynamic perspective the load distribution in the switchgear. The appendix has been divided in two different major chapters. - The first chapter provides information on short term emergency current for the busbar and the feeder in different periods of the year. - The second chapter provides information on permanent emergency current at different temperatures.. This document is a project specific document based on SDOK-41-50, rev. 5... Revisions of this document prior to Revision 1.0 are located at Statnett IFS document #1967387. |
| Distribution |  |  |  |  |  |  |  |
| Rev. | Date | Description |  | Author | Checked |  | Approved |
| 1 | 14.11.2024 | Issued for tender |  | Martin Husby |  |  |  |

This appendix B provides the thermal behavior of the GIS equipment. It will allow Statnett to better control and optimize the load distribution.

This document is linked directly with the equipment proposed in the Appendix C : Manufacturing details.

This appendix C has been divided in two different chapters.

- The first chapter provides information on short term emergency current for the busbar and the feeder in different periods of the year.

- The second chapter provides information on permanent emergency current at different temperatures.

The manufacturer is requested to complete the different tables according to the layout and equipment proposed for the project.

The manufacturer is also requested to complete under each table the temperature type test report number used for the calculation, the equipment limiting the thermal performance (circuit-breaker, disconnector, etc..), information on the limiting component on the equipment (enclosure or conductor) and the name/reference of the sensor in the type test report.

Short-term emergency current :

For each table below, the contractor shall write the type test report number used to perform the calculation, the sensor (equipment) limiting the thermal performance (for example : silver coated contacts or enclosure ; Line disconectors or strait enclosure, current transformer enclosure, etc…)

A/ Bus-bar (including prospective busbar sectioniers and busbar couplings)

| Summer (40C) |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Bus-bar rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
|  |  |  |  |  |  | 5000 |
| Temp Ambient temperature | 40 |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

| Inter-Season (15C): |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Bus-bar rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
| Temp Ambient temperature | 15 |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

| Winter 1 (0C) : |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Bus-bar rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
| Temp Ambient temperature | 0 deg |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

| Winter 2 (-5C) : |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Bus-bar rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
| Temp Ambient temperature | -5 deg |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

:

B/ Feeder (indoor and outdoor elements)

| Summer (40C) : |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Feeder rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
|  |  |  |  |  |  | 5000 |
| Temp Ambient temperature | 40 |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

| Inter-Season (15C): |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Feeder rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
| Temp Ambient temperature | 15 |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

| Winter 1 (0C) : |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Feeder rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
| Temp Ambient temperature | 0 deg |  |  |  |  |  |
| Short-term emergency current in minutes | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

| Winter 2 (-5C) : |  | 80% de Pre-Load | 60% de Pre-Load | 40% de Pre-Load | 20% de Pre-Load | 0% de Pre-Load |
| --- | --- | --- | --- | --- | --- | --- |
| Feeder rating |  | Ampere | Ampere | Ampere | Ampere | Ampere |
| Temp Ambient temperature | -5 deg |  |  |  |  |  |
| Short-term emergency current in minute | 5' |  |  |  |  |  |
|  | 10' |  |  |  |  |  |
|  | 15' |  |  |  |  |  |
|  | 20' |  |  |  |  |  |
|  | 30' |  |  |  |  |  |
|  | 4h (240) |  |  |  |  |  |
|  | 6h (360) |  |  |  |  |  |
|  | 12h (720) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

Permanent emergency current :

2-1 Permanent emergency current on the bus-bar:

| Bus-bar | Ampere | Ampere | Ampere | Ampere | Ampere |
| --- | --- | --- | --- | --- | --- |
| Ambient temperature | 40C | 30C | 15C | 0C | -5C |
| Long-term emergency current (A) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

2-2 Permanent emergency current on the feeder:

| Feeder | Ampere | Ampere | Ampere | Ampere | Ampere |
| --- | --- | --- | --- | --- | --- |
| Ambient temperature | 40C | 30C | 15C | 0C | -5C |
| Long-term emergency current (A) |  |  |  |  |  |

Type test report :xxxxx Limiting thermal performance equipment : (Enclosure or contacts)     Sensor number/label limitation in the proposed type test report.: xxxx

- Revision log

| Rev number | Date | Changes |
| --- | --- | --- |
| 5 | 03.05.2023 | Some language changes. No technical changes. |