BKK-2025-046

Tilbyderinstruks

FORESPØRSEL FRA

BKK AS

OM LEVERING AV

145 kV (145 kv) gassisolert koblingsanlegg

til Øygarden koblingsstasjon

TILBYDERINSTRUKS

Innholdsfortegnelse

1. OM FORESPØRSELEN	4

1.1 Kort om anskaffelsen	4

1.2 Oppdragsgiver	4

1.3 Anskaffelsens anslåtte verdi	4

1.4 Konkurransegrunnlaget	4

1.5 System for gjennomføring av konkurransen	5

1.6 Oppdragsgivers forbehold	5

2. KONKURRANSEREGLER OG ANSKAFFELSESPROSEDYRE	5

2.1 Konkurranseregler	5

2.2 Dokumentinnsyn	5

2.3 Anskaffelsesprosedyre	5

2.4 Avvisning av tilbud	6

2.5 Klima- og miljøhensyn	6

2.6 Sikkerhet og taushetserklæring	6

3. DET EUROPEISKE EGENERKLÆRINGSSKJEMAET (ESPD)	7

3.1 Generelt om ESPD	7

3.2 Nasjonale avvisningsgrunner	7

3.3 Samlet angivelse for alle kvalifikasjonskrav i ESPD	7

4. KVALIFIKASJONSKRAV	7

4.1 Leverandørens organisatoriske og juridiske stilling	7

4.2 Leverandørens økonomiske og finansielle kapasitet	7

4.3 Leverandørens tekniske og faglige kvalifikasjoner	8

5. FRISTER	8

5.1 Kvalifikasjons- og tilbudsfrist	8

5.2 Tilbudets gyldighet	9

6. GJENNOMFØRING AV KONKURRANSEN	9

6.1 Krav til tilbyder	9

6.2 Kommunikasjon	9

6.3 Språk	9

6.4 Konfidensialitet	9

6.5 Kostnader ved utarbeidelse av tilbud	9

6.6 Tildelingskriterier	10

6.7 Evalueringsmodell	10

6.8 Resultat av konkurransen	11

7. KVALIFIKASJONSANMODNINGENS INNHOLD - TRINN 1	11

8. TILBUDETS FORMAT OG INNHOLD - TRINN 2	11

8.1 Tilbudets innhold	11

8.2 Tilbudsbrevet	12

8.3 Levering av kvalifikasjonsanmodning og tilbud	12

8.4 Åpning av tilbud	12

8.5 Forhandlinger	12

8.6 Kontraktsinngåelse	12

1. OM FORESPØRSELEN

1.1 Kort om anskaffelsen

Anskaffelsen gjelder komplett levering, montering og idriftsettelse av 1stk. 145 kV SF6-fritt gassisolert koblingsanlegg (GIS) med 9 stk. doble bryterfelt og dobbel samleskinne til Øygarden koblingsstasjon. Anskaffelsen omfatter BKKs bays, herunder Blomøy og Energiparken, samt opsjon på fremtidige bays (Energiparken Nord, Energiparken Sør og 2 stk. «future»).

Øygarden koblingsstasjon er en felles stasjon mellom BKK AS og Statnett SF. I henhold til Byggherreavtalen mellom partene (datert 03.05.2023) skal BKK i tillegg etablere 3 stk. 145 kV transformatorfelt på vegne av Statnett som inngår som opsjon i anskaffelsen. Eiendomsretten til disse feltene overføres til Statnett ved overtakelse. Kontrakten med leverandør signeres av både BKK og Statnett, jf. Byggherreavtalen pkt. 11.2.

De tekniske kravene følger Statnetts spesifikasjon SDOK-41-34 (Special Specification) og SDOK-41-38 (General Specification), som er gjort gjeldende for denne anskaffelsen. Detaljer om leveransen fremgår av Vedlegg 01 - Arbeidsbeskrivelse og øvrige vedlegg.

Anskaffelsen gjennomføres i to trinn. Leverandører bes inngi kvalifikasjonsanmodning innen 30.06.2026 kl. 12.00 i Mercell. Inntil 3 kvalifiserte leverandører vil bli invitert til tilbudsfasen og forhandlinger.

Viktige rammer for anskaffelsen:

- Konkurransegrunnlaget kunngjøres med komplett underlag (med unntak av sikkerhetsklassifiserte vedlegg, jf. pkt. 2.6) slik at leverandørene fra kunngjøringstidspunktet kan reservere produksjonskapasitet i fabrikk og påbegynne skisseprosjektering.

- Kontraktsinngåelse er designfrys. Tekniske avklaringer og justeringer skal være innarbeidet i kontrakten på dette tidspunktet.

- Leveransen skal utføres med SF6-fritt isolasjonsmedium. Dette er et absolutt krav, jf. pkt. 2.5.

1.2 Oppdragsgiver

Oppdragsgiver for anskaffelsen er BKK AS.

Statnett SF er medsignatar på kontrakten for sin del av leveransen (3 stk. 145 kV transformatorfelt), jf. pkt. 1.1.

1.3 Anskaffelsens anslåtte verdi

Anskaffelsens anslåtte verdi er NOK 99-150 millioner ekskl. mva. Anskaffelsen overstiger EØS-terskelverdien for forsyningssektoren og kunngjøres derfor i Doffin og TED.

1.4 Konkurransegrunnlaget

Konkurransegrunnlaget består av:

- Tilbyderinstruks (dette dokument)

- Avtaledokument (forside)

- Spesielle vilkår - endringskatalog til KOLEMO 3.2

- KOLEMO 3.2 - Generelle vilkår

- Vedlegg 01 - Arbeidsbeskrivelse

- Vedlegg 02 - Vederlag KOLEMO

- Vedlegg 03 - Prisark

- Vedlegg 04 - Administrative og etiske bestemmelser

- Vedlegg 05 - Underleverandører

- Vedlegg 06 - Sikkerhetsstillelser og garantier

- Vedlegg 07 - BKK Special specification. Gas Insulated Switchgear (SDOK-41-34)

- Vedlegg 08 – Statnett Special specification. Gas Insulated Switchgear (SDOK-41-34)

- Vedlegg 09 - General specification. Gas Insulated Switchgear (SDOK-41-38, 11.0)

- Vedlegg 10 - Appendix A Performance and type test table (SDOK-41-51)

- Vedlegg 11 – Appendix B Specification Permanent and temporary overload (SDOK-41-50)

- Vedlegg 12 – Appendix C Manufacturing details (SDOK-41-49)

- Vedlegg 13 - Appendix D Deviations from the GIS specifications (SDOK-41-48)

- Vedlegg 14 – Appendix E Principles for local control systems in Statnett substations (memo no. 1) (SDOK-83-5, 14.0)

- Vedlegg 15 – Appendix E Interlocking of disconnecting switches. GIS-systems (SDOK-83-58, 5.0)

- Vedlegg 16 – Appendix F Layout and gas compartment standard (SDOK-41-52)

- Vedlegg 17 – Appendix G General specification earthing substation (SDOK-47-51, 11.0)

- Vedlegg 18 - Appendix G Special specification earthing substation (SDOK-47-52)

- Vedlegg 19 – Appendix H General specification instrument transformers (SDOK-41-9, 15.0)

- Vedlegg 20 – Appendix I Requirements for signs for operation labelling substation (SDOK-47-10, 8.0)

- Vedlegg 21 - BKKs Principles for local control systems

Vedlegg 22 - Single Line Diagram

- Vedlegg 23 - SHA-plan

- Bilag 1 - Tilbudsbrev

- Bilag 2 - Tilbyders forbehold og avvik

- Bilag 3 - Egenerklæring om lønns- og arbeidsvilkår

- Bilag 4 - Sikkerhetsavtale (signeres av tilbyder før mottak av sikkerhetsklassifisert underlag)

- Bilag 5 - Security Agreement - Projects

1.5 System for gjennomføring av konkurransen

BKK bruker Mercell som elektronisk konkurransegjennomføringsverktøy (KGV). All kommunikasjon, levering av kvalifikasjonsanmodning og tilbud skal skje i Mercell.

1.6 Oppdragsgivers forbehold

Oppdragsgiver tar forbehold om at:

- Offentlige myndigheter godkjenner tiltaket.

- Besluttende organer hos BKK godkjenner budsjett og gjennomføring. Kostnader utover budsjett er saklig grunn for avlysning.

- Statnett SF godkjenner gjennomføringen for sin del av leveransen, jf. Byggherreavtalen.

2. KONKURRANSEREGLER OG ANSKAFFELSESPROSEDYRE

2.1 Konkurranseregler

Som generelle konkurranseregler gjelder Forskrift om innkjøpsregler i forsyningssektorene (forsyningsforskriften), del I og del II.

2.2 Dokumentinnsyn

Oppdragsgiver er omfattet av Lov om rett til innsyn i dokument i offentlig virksomhet (Offentleglova). Ved krav om innsyn i tilbudsdokumenter blir aktuell tilbyder kontaktet for innspill til sladding av dokumenter før utlevering. Oppdragsgiver gir ikke innsyn i opplysninger som faller inn under Forvaltningslovens § 13 (2).

2.3 Anskaffelsesprosedyre

Innkjøpsformen er konkurranse med forhandling, jf. forsyningsforskriften § 9-1.

Inntil 3 tilbydere kvalifiseres til tilbudsfasen og inviteres til forhandlinger. Dersom Oppdragsgiver mottar kvalifikasjonsanmodninger fra flere enn 3 tilbydere, benyttes følgende utvelgelseskriterium:

U1: Best kvalitet på erfaring fra sammenlignbare oppdrag, jf. pkt. 4.3.

Etter mottatte tilbud kan Oppdragsgiver, basert på tildelingskriteriene, nedskalere antallet tilbydere som får anledning til å delta videre i forhandlingene. Oppdragsgiver forbeholder seg retten til å nedskalere antall tilbydere før oppstart av forhandlinger og frem til kontraktstildeling.

2.4 Avvisning av tilbud

Avvisningsgrunnene følger forsyningsforskriften kapittel 20. Tilbudet kan eller skal avvises dersom:

- Tilbudet er innsendt eller signert av en annen juridisk enhet enn den som var prekvalifisert.

- Tilbudet er innsendt utenom Mercell.

- Tilbudet ikkekan anses bindende.

- Tilbudet inneholder vesentlige avvik fra anskaffelsesdokumentene.

- Tilbudet inneholder forbehold mot SF6-frihetskravet eller andre absolutte krav i kravspesifikasjonen.

2.5 Klima- og miljøhensyn

Forsyningsforskriften § 7-9 (4) fastsetter at «Tildelingskriterier etter andre og tredje ledd kan erstattes med klima- og miljøkrav i kravspesifikasjonen, dersom det er klart at dette gir en bedre klima- og miljøeffekt og dette begrunnes i anskaffelsesdokumentene.» Oppdragsgiver har konkludert med at bestemmelsens fjerde ledd kommer til anvendelse for denne anskaffelsen.

Oppdragsgiver oppstiller absolutt forbud mot SF6-gass. SF6 har global oppvarmingspotensial omtrent 23 500 ganger høyere enn CO₂ og er per i dag den største enkeltkilden til BKKs klimagassutslipp.

EU har gjennom forordning (EU) 2024/573 fastsatt en gradvis utfasing av fluorholdige klimagasser, herunder SF₆, i elektriske koblingsanlegg, med forbud mot å sette i drift nytt høyspenningsanlegg med slike gasser fra 2028-2032. Forordningen er EØS-relevant og forventes implementert i norsk regelverk. Selv om tidspunkt for gjennomføring i Norge per i dag ikke er fastsatt, er kravet likevel lagt til grunn i denne anskaffelsen.

Det viktigste kravet til klima og miljø satt i denne konkurransen er at isolergass må være fluorfri, gitt deres potente drivhuseffekt. Bakgrunnen for dette kravet er at utelatelse av fluorgasser gir en vesentlig og dokumentert positiv klimaeffekt, ettersom fluorgasser har et svært høyt globalt oppvarmingspotensial sammenlignet med alternative løsninger. Kravet vurderes derfor som særlig egnet til å sikre at anskaffelsen bidrar til reell reduksjon av klimagassutslipp. Kravet sikrer at alle tilbud oppfyller ønsket miljøstandard.

Et absolutt forbud i kravspesifikasjonen anses å gi sterkere miljøeffekt enn et tildelingskriterium. Vilkåret i forsyningsforskriften § 7-9 (4) anses oppfylt

2.6 Sikkerhet og taushetserklæring

Anlegget inngår i kritisk infrastruktur. Tekniske spesifikasjoner og enlinjeskjema er klassifisert som kraftsensitiv informasjon, og frigis først i Trinn 2 (tilbudsfasen) etter at kvalifisert tilbyder har signert Bilag 4 - Sikkerhetsavtale. Sikkerhetsavtalen foreligger på både norsk og engelsk.

Følgende underlag er klassifisert som kraftsensitivt og etter signert sikkerhetsavtale:

- Single Line Diagram

- BKKs Principles for local control systems

- SDOK-41-34 Special Specification (deler av innholdet)

- SDOK-41-51 Performance and type test table (Appendix A)

- SDOK-83-5 Principles for local systems Statnett

- SDOK-83-58 Interlocking of disconnecting switches

Tilbyder skal behandle alle opplysninger som mottas i forbindelse med konkurransen som strengt konfidensielle, og kan ikke videreformidle disse til tredjepart uten skriftlig samtykke fra Oppdragsgiver.

3. DET EUROPEISKE EGENERKLÆRINGSSKJEMAET (ESPD)

3.1 Generelt om ESPD

Som foreløpig dokumentasjon på oppfyllelse av kvalifikasjonskravene, at det ikke foreligger avvisningsgrunner, og eventuell oppfyllelse av utvelgelseskriteriet, skal leverandøren fylle ut ESPD-skjema i Mercell. Skjemaet leveres sammen med kvalifikasjonsanmodningen.

Oppdragsgiver kan på ethvert tidspunkt i konkurransen be leverandørene levere alle eller deler av dokumentasjonsbevisene dersom det er nødvendig for å sikre at konkurransen gjennomføres på riktig måte, jf. forsyningsforskriften § 12-1.

Dersom flere leverandører deltar i konkurransen i fellesskap, skal de deltakende leverandørene levere separate egenerklæringer.

3.2 Nasjonale avvisningsgrunner

I henhold til ESPD del III, seksjon D, går de norske anskaffelsesreglene lenger enn EUs direktiv om offentlige anskaffelser. I denne konkurransen gjelder samtlige avvisningsgrunner i forsyningsforskriften § 20-2, inkludert de rent nasjonale avvisningsgrunnene.

Følgende avvisningsgrunner i § 20-2 er rent nasjonale:

- § 20-2 (2): Plikt til å avvise leverandører som har vedtatt forelegg for de angitte straffbare forholdene.

- § 20-2 (3) bokstav i: Andre alvorlige feil som kan medføre tvil om leverandørens yrkesmessige integritet.

3.3 Samlet angivelse for alle kvalifikasjonskrav i ESPD

Leverandørene kan i ESPD-skjemaet gi en samlet erklæring om at de oppfyller samtlige kvalifikasjonskrav som fremkommer av konkurransegrunnlaget. Dette gjøres i ESPD-skjemaets del IV seksjon α.

4. KVALIFIKASJONSKRAV

For å få sitt tilbud evaluert må leverandøren fylle ut ESPD-skjemaet i Mercell, samt levere etterspurt dokumentasjon i pkt. 4.1 til 4.3 sammen med kvalifikasjonsanmodningen.

4.1 Leverandørens organisatoriske og juridiske stilling

| Krav | Dokumentasjonskrav |
| --- | --- |
| Leverandøren skal være registrert i et foretaksregister, faglig register eller handelsregister i den staten leverandøren er etablert. | Norske selskaper: Firmaattest. Utenlandske selskaper: Dokumentasjon på at selskapet er registrert i foretaksregister, faglig register eller handelsregister i den staten leverandøren er etablert. |
| Leverandøren skal ha ordnede forhold med hensyn til betaling av skatt, arbeidsavgift og merverdiavgift. | Norske leverandører: Skatteattest, ikke eldre enn 6 mnd. Utenlandske leverandører: Tilsvarende attest fra hjemstatens skattemyndigheter, ikke eldre enn 6 mnd. |

4.2 Leverandørens økonomiske og finansielle kapasitet

| Krav | Dokumentasjonskrav |
| --- | --- |
| Leverandøren skal ha tilstrekkelig økonomisk og finansiell kapasitet til å kunne utføre kontrakten, hensyntatt anskaffelsens anslåtte verdi (NOK 99-150 mill.). Kredittverdighet uten krav til sikkerhetsstillelse er tilstrekkelig. | Kredittvurdering basert på siste kjente regnskapstall, utført av kredittopplysningsvirksomhet med konsesjon. Vurderingen skal være datert senest 3 måneder før tilbudsfristen. For utenlandske leverandører: Tilsvarende kredittvurdering fra anerkjent internasjonal kredittopplysningsvirksomhet (eksempelvis Dun & Bradstreet, Experian, Creditreform). Oppdragsgiver tar forbehold om å innhente ytterligere kredittrating eller annen økonomisk informasjon. |

Dersom leverandøren har saklig grunn til ikke å fremlegge etterspurt dokumentasjon, kan leverandøren dokumentere sin økonomiske og finansielle kapasitet ved å fremlegge ethvert annet dokument som Oppdragsgiver anser egnet.

4.3 Leverandørens tekniske og faglige kvalifikasjoner

| Krav | Dokumentasjonskrav |
| --- | --- |
| Leverandøren skal ha erfaring fra sammenlignbare oppdrag, herunder teknologi for SF6 fri GIS anlegg. | Beskrivelse av leverandørens inntil tre mest relevante oppdrag i løpet av de siste 5 årene. Beskrivelsen må inkludere oppdragets verdi, tidspunkt, leveranseomfang og navn på mottaker. Leverandørens ansvar å dokumentere relevans gjennom beskrivelsen. |
| Leverandøren skal ha et tilfredsstillende kvalitetsstyringssystem. | Redegjørelse for leverandørens kvalitetsstyringssystem, eller kopi av sertifikat fra uavhengig organ som viser oppfyllelse av relevant standard (ISO 9001 eller tilsvarende). |
| Leverandøren skal ha et tilfredsstillende miljøledelsessystem. | Redegjørelse for leverandørens miljøledelsessystem, eller kopi av sertifikat (ISO 14001:2015, EMAS, Miljøfyrtårn eller tilsvarende). |
| Leverandøren skal oppfylle Statnett sine krav til leveransen. | Leverandøren skal dokumentere oppfyllelse av krav ved å levere komplett utfylt Vedlegg 10 - Appendix A Performance and type test table (SDOK-41-51). |

5. FRISTER

5.1 Kvalifikasjons- og tilbudsfrist

Frist for å levere kvalifikasjonsanmodning og tilbud fremkommer av Mercell. Indikative frister:

| Milepæl | Dato/tidspunkt |
| --- | --- |
| Kunngjøring | 29.05.2026 |
| Frist for kvalifikasjonsanmodning (Trinn 1) | 30.06.2026 kl. 12.00 |
| Meddelelse om resultat av kvalifiseringen (Trinn 2) | Uke 27-28 |
| Tilbudsfrist | 05.10.2026 kl. 12.00 |
| Forhandlinger | Uke 43 |
| Planlagt kontraktsinngåelse (designfrys) | 14.12.2026 |

Mercell hindrer innlevering av kvalifikasjonsanmodning og tilbud etter at fristen er utløpt. Brukertilgang og opplæring må sikres i god tid før fristens utløp.

5.2 Tilbudets gyldighet

Tilbudet skal være gyldig i 120 dager fra tilbudsfristen.

6. GJENNOMFØRING AV KONKURRANSEN

6.1 Krav til tilbyder

Tilbyder skal sette seg inn i konkurransegrunnlaget og skaffe seg alle opplysninger som trengs for å levere en kvalifikasjonsanmodning og senere et komplett tilbud.

Tilbyder skal bekrefte at de har, eller vil etablere, en serviceorganisasjon i Norge for den typen anlegg som tilbys.

6.2 Kommunikasjon

All kommunikasjon mellom Oppdragsgiver og tilbyderne skal skje gjennom Mercell frem til tilbudsfristens utløp. Spørsmål anonymiseres og besvares til alle interessenter via Mercell.

6.3 Språk

Konkurransegrunnlaget foreligger på norsk og engelsk.

Tilbud kan leveres på norsk eller engelsk.

Skriftlig kommunikasjon, dokumentasjon i kontraktsperioden, samt møter og forhandlinger, foregår på engelsk dersom tilbyder ikke behersker norsk. Tilbyder skal beherske engelsk skriftlig og muntlig på et nivå som muliggjør effektiv prosjektgjennomføring.

Det forutsettes at nøkkelpersonell hos leverandøren har god muntlig og skriftlig engelskkompetanse. Serviceorganisasjonen i Norge skal kunne kommunisere på norsk eller engelsk i operativ fase.

6.4 Konfidensialitet

Tilbyder pålegges å behandle alle opplysninger som mottas i forbindelse med forespørselen og tilbudsutarbeidelsen som strengt konfidensielle. Sikkerhetsklassifiserte vedlegg er underlagt egne vilkår, jf. pkt. 2.6 og Bilag 4.

6.5 Kostnader ved utarbeidelse av tilbud

Tilbud utarbeides for tilbyders regning. Oppdragsgiver dekker ikke kostnader knyttet til tilbudsutarbeidelse, oversettelse, reise, presentasjoner eller andre tilbudsrelaterte aktiviteter.

6.6 Tildelingskriterier

Oppdragsgiver vil velge tilbud på grunnlag av det beste forholdet mellom kostnad og kvalitet, der kvalitet omfatter tildelingskriterium 2 og 3.

Tilbudene evalueres etter følgende kriterier:

| Vekt | Kriterium | Beskrivelse | Dokumentasjonskrav |
| --- | --- | --- | --- |
| 40 % | 1. Kostnad | Leverandørens priser og øvrige relevante kostnader knyttet til løsningen, herunder vedlikeholdskostnader, livssykluskostnader (LCC) og eventuelle avvik. Oppdragsgiver forbeholder seg retten til å prise inn alle tilbyders forbehold separat. | Priser på komplett fungerende anlegg. Enhetspriser på tilleggsutstyr iht. Vedlegg 03 Prisark. |
| 40 % | 2. Tid | Leverandørens tilbudte leveringstid målt fra kontraktsinngåelse (designfrys) til ferdig montert og idriftsatt anlegg. Leveringstiden skal inkludere produksjon, transport og montasje. Oppdragsgiver legger til grunn realistisk fremdriftsplan. Oppdragsgiver foretar evaluering knyttet til tilbudt leveringstid, herunder realisme og gjennomførbarhet. Evalueringen vil omfatte: - Om planlagt fremdrift er basert på realistiske tidsforutsetninger, tilstrekkelige ressurser og hensiktsmessig rekkefølge på aktiviteter. - Forståelse av prosjektets omfang og varighet. - Identifiserte forutsetninger og forutsetningenes troverdighet- Planlagt fremdrift som fremstår urealistisk komprimerte eller bygger på forutsetninger som ikke fremstår sannsynlige eller dokumenterte, vil bli vurdert svakere. | Bindende fremdriftsplan (MS Project eller tilsvarende) med definerte milepæler (engineering, fabrikk, FAT, transport, montering, SAT, idriftsettelse), metode, grensesnitt i prosjektet og ressursbruk. Dokumentasjon på reservert produksjonskapasitet i fabrikk. |
| 20 % | 3. Teknisk løsning | Leverandørens tekniske løsning av leveransen, herunder hovedprinsipper og systemoppbygging. Evalueringen vil omfatte: - Leverandørens tekniske løsning, herunder hvilken grad løsningen dekker krav og behov i vedlegg 7-21. - Kvalitet på systemoppbygging. - Om løsningen bygger på hensiktsmessige tekniske og funksjonelle prinsipper. | Leverandøren skal dokumentereoppfyllelse av krav og behov i vedlegg 7–21, med eksplisitte henvisninger til relevante kravpunkter. Dette kan gjøres med å påføre kommentarer med blå skrift og returnere dokumentet som word-fil. Dokumentasjonen skal være strukturert og inneholde tydelige henvisninger til relevante kravpunkter. |

6.7 Evalueringsmodell

Forholdsmessig modell:

For tildelingskriterium 1 (Kostnad) er konkurranseprisen tilbudspris dersom denne er en fast pris. Ved sammensatt pris beregnes totalkostnad, eventuelt livssykluskostnad. Laveste totalkostnad får 10 poeng × vekt kostnad.

Formel for kostnad: Score Pe = 10 × Pb / Pe × Vk

hvor:

- Pe = evaluert tilbud

- Pb = beste tilbud (laveste pris/kostnad)

- Vk = vekt for kostnadskriteriet

For tildelingskriterium 2 (Tid) Forholdsmessig modell mellom et realistisk minimum (gulv) og et maksimum (tak). Tider under gulvet gir ikke ekstra poeng på grunn av risiko. Tider over taket anses som ikke konkurransedyktige.

For tildelingskriterium 3 (Teknisk løsning) karaktersettes tilbudet skjønnsmessig fra 1-10, der 10 er best. Karakteren multipliseres med vektingen for kriteriet.

6.8 Resultat av konkurransen

Resultat av konkurransen meddeles konkurrerende tilbydere. Meldingen opplyser hva som var utslagsgivende for innstillingen, jf. tildelingskriteriene.

7. KVALIFIKASJONSANMODNINGENS INNHOLD - TRINN 1

Kvalifikasjonsanmodningen skal bestå av elementene oppført nedenfor og organiseres i samme rekkefølge:

| Nr. | Emne |
| --- | --- |
| 1 | ESPD - det europeiske egenerklæringsskjemaet (fylles ut i Mercell). |
| 2 | Dokumentasjon på oppfyllelse av kvalifikasjonskravene, jf. pkt. 4.1-4.3. |
| 3 | Utfylt Vedlegg 05 Underleverandører, og eventuelt forpliktelseserklæring dersom leverandøren støtter seg på en underleverandør for å bli kvalifisert. |
| 4 | Eventuelle øvrige opplysninger leverandøren mener er relevante for kvalifikasjonsvurderingen. |

Dokumentene nummereres, og filnavn skal vise hva dokumentene inneholder.

8. TILBUDETS FORMAT OG INNHOLD - TRINN 2

8.1 Tilbudets innhold

Tilbudet skal bestå av elementene oppført nedenfor og organiseres i samme rekkefølge:

| Nr. | Emne |
| --- | --- |
| 1 | Bilag 1 - Tilbudsbrev (signert). |
| 2 | Bilag 2 - Tilbyders forbehold og avvik (utfylt). |
| 3 | Bilag 3 - Egenerklæring om lønns- og arbeidsvilkår. |
| 4 | Dokumentasjon vedrørende tildelingskriteriet «Kostnad» (Vedlegg 03 Prisark). |
| 5 | Dokumentasjon vedrørende tildelingskriteriet «Tid» (Bindende fremdriftsplan) |
| 6 | Dokumentasjon vedrørende tildelingskriteriet «Tilbyders tekniske løsning» (tekniske løsning av leveransen, herunder hovedprinsipper og systemoppbygging ). |
| 7 | Teknisk besvarelse av kravspesifikasjonen (Vedlegg 01 Arbeidsbeskrivelse + SDOK-41-34/-38), inkludert eventuelt utfylt Appendix D (deviation of the specification). |
| 8 | Utfylt Vedlegg 05 Underleverandører. |
| 9 | Bekreftelse på sikkerhetsstillelser og garantier (Vedlegg 06). |
| 10 | Annen relevant dokumentasjon. |

Dokumentene nummereres, og filnavn skal vise hva dokumentene inneholder.

8.2 Tilbudsbrevet

Tilbyder skal bekrefte at forespørselen er fullstendig besvart, og at tilbudet samsvarer med de forutsetningene som fremgår der.

Alle forbehold, presiseringer og eventuelle avvik må fremgå av tilbudsbrevet for å kunne påberopes.

Tilbyder skal i tilbudsbrevet oppnevne en kontaktperson som får ansvar og myndighet til å følge opp denne forespørselen.

8.3 Levering av kvalifikasjonsanmodning og tilbud

Tilbyder skal levere kvalifikasjonsanmodning og tilbud i Mercell iht. de instrukser og frister som er angitt.

8.4 Åpning av tilbud

Offentlig åpning av tilbudene vil ikke finne sted.

8.5 Forhandlinger

Forhandlinger planlegges gjennomført i uke 43. Eventuelle ferier hensyntas. Forhandlingene kan gjennomføres fysisk eller digitalt.

8.6 Kontraktsinngåelse

Kontraktsinngåelse er planlagt 14.12.2026. Tidspunktet for kontraktsinngåelse er designfrys. Etter dette tidspunktet er det tekniske grensesnittet og hovedløsningen låst, og endringer skal håndteres i henhold til endringsregimet i KOLEMO 3.2.

Kontrakten signeres av BKK AS og Statnett SF, jf. Byggherreavtalen pkt. 11.2. Eiendomsretten til 3 stk. 145 kv transformatorfelt overføres til Statnett ved overtakelse, mens øvrig leveranse forblir hos BKK.

BKK-2025-046

Instructions to Tenderers

REQUEST FROM

BKK AS

FOR THE SUPPLY OF

145 kV gas-insulated switchgear (SF6-free)

To Øygarden koblingsstasjon

INSTRUCTIONS TO TENDERERS

Table of contents

1. About the procurement	4

1.1 Brief overview of the procurement	4

1.2 Contracting Entity	4

1.3 Estimated value of the procurement	4

1.4 Tender documents	4

1.5 System for conducting the competition	5

1.6 Reservations by the Contracting Entity	5

2. Competition rules and procurement procedure	5

2.1 Competition rules	5

2.2 Access to documents	5

2.3 Procurement procedure	5

2.4 Rejection of tenders	6

2.5 Climate and environmental considerations	6

2.6 Security and non-disclosure	6

3. European Single Procurement Document (ESPD) 7

3.1 General information on the ESPD	7

3.2 National grounds for exclusion	7

3.3 Combined declaration for all qualification requirements	7

4. Qualification requirements	7

4.1 Supplier's organisational and legal standing	7

4.2 Supplier's economic and financial capacity	7

4.3 Supplier's technical and professional qualifications	8

5. Deadlines	8

5.1 Qualification and tender deadline	8

5.2 Validity of the tender	9

6. Conduct of the competition	9

6.1 Requirements for the Tenderer	9

6.2 Communication	9

6.3 Language	9

6.4 Confidentiality	9

6.5 Costs of preparing the tender	9

6.6 Award criteria	9

6.7 Evaluation model	10

6.8 Outcome of the competition	10

7. Content of the qualification request - Stage 1. 11

8. Format and content of the tender - Stage 2	11

8.1 Content of the tender	11

8.2 The tender letter	11

8.3 Submission of the qualification request and tender	11

8.4 Opening of tenders	11

8.5 Negotiations	12

8.6 Contract award	12

1. About the procurement

1.1 Brief overview of the procurement

The procurement covers complete delivery, installation and commissioning of 1 unit of 145 kV SF6-free gas-insulated switchgear (GIS) with 9 double breaker bays and double busbar to Øygarden substation. The procurement covers BKK's bays, including Blomøy and Energiparken, as well as options for future bays (Energiparken Nord, Energiparken Sør and 2 units of "future").

Øygarden koblingstasjon is a joint substation between BKK AS and Statnett SF. Under the Owners' Agreement between the parties (dated 03.05.2023), BKK shall additionally establish 3 units of 145 kV transformer bays on behalf of Statnett, included as an option in this procurement. Ownership of these bays will be transferred to Statnett upon takeover. The contract with the supplier will be signed by both BKK and Statnett, cf. the Owners' Agreement section 11.2.

The technical requirements follow Statnett's specifications SDOK-41-34 (Special Specification) and SDOK-41-38 (General Specification), which are made applicable to this procurement. Details of the supply are set out in Appendix 01 - Scope of Work and the other appendices.

The procurement is conducted in two stages. Suppliers are invited to submit qualification requests by 30.06.2026 at 12:00 in Mercell. Up to 3 qualified suppliers will be invited to the tender stage and negotiations.

Key parameters of the procurement:

- The tender documents are published with the complete basis (with the exception of security-classified appendices, cf. section 2.6), so that suppliers may reserve factory production capacity and commence concept design from the date of publication.

- Contract signing is the design freeze. Technical clarifications and adjustments shall be incorporated in the contract by that point in time.

- The supply shall use SF6-free insulation medium. This is an absolute requirement, cf. section 2.5.

1.2 Contracting Entity

The Contracting Entity for the procurement is BKK AS.

Statnett SF is co-contracting party for its part of the supply (3 units of 145 kV transformer bays), cf. section 1.1.

1.3 Estimated value of the procurement

The estimated value of the procurement is NOK 99-150 million excluding VAT. The procurement exceeds the EEA threshold for the utilities sector and is therefore published in Doffin and TED.

1.4 Tender documents

The tender documents consist of:

- Instructions to Tenderers (this document)

- Contract document (cover page)

- Special Conditions - amendment catalogue to KOLEMO 3.2

- KOLEMO 3.2 - General Terms and Conditions

- Attachment 01 - Scope of Work

- Attachment 02 - Remuneration KOLEMO

- Attachment 03 - Price schedule

- Attachment 04 - Administrative and ethical provisions

- Attachment 05 - Subcontractors

- Attachment 06 - Securities and guarantees

- Attachment 07 - BKK Special specification. Gas Insulated Switchgear (SDOK-41-34)

- Attachment 08 - Statnett Special specification. Gas Insulated Switchgear (SDOK-41-34)

- Attachment 09 - General specification. Gas Insulated Switchgear (SDOK-41-38, 11.0)

- Attachment10 - Appendix A Performance and type test table (SDOK-41-51)

- Attachment 11 - Appendix B Specification Permanent and temporary overload (SDOK-41-50)

- Attachment 12 - Appendix C Manufacturing details (SDOK-41-49)

- Attachment 13 - Appendix D Deviations from the GIS specifications (SDOK-41-48)

- Attachment 14 - Appendix E Principles for local control systems in Statnett substations (memo no. 1) (SDOK-83-5, 14.0)

- Attachment 15 - Appendix E Interlocking of disconnecting switches. GIS-systems (SDOK-83-58, 5.0)

- Attachment 16 - Appendix F Layout and gas compartment standard (SDOK-41-52)

- Attachment 17 - Appendix G General specification earthing substation (SDOK-47-51, 11.0)

- Attachment 18 - Appendix G Special specification earthing substation (SDOK-47-52)

- Attachment 19 - Appendix H General specification instrument transformers (SDOK-41-9, 15.0)

- Attachment 20 - Appendix I Requirements for signs for operation labelling substation (SDOK-47-10, 8.0)

- Attachment 21 - BKK's Principles for local control systems

- Attachment 22 - Single Line Diagram

- Attachment 23 - Health and Safety Plan (SHA-plan)

- Appendix 1 - Tender letter

- Appendix 2 - Tenderer's reservations and deviations

- Appendix 3 - Self-declaration on wages and working conditions

- Appendix 4 - Security Agreement (to be signed by the Tenderer before receiving security-classified material)

- Appendix 5 - Security Agreement - Projects

1.5 System for conducting the competition

BKK uses Mercell as the electronic procurement tool. All communication and submission of qualification requests and tenders shall take place in Mercell.

1.6 Reservations by the Contracting Entity

The Contracting Entity reserves the right that:

- public authorities approve the project.

- BKK's decision-making bodies approve budget and execution. Costs in excess of budget constitute valid grounds for cancellation.

- Statnett SF approves the execution of its part of the supply, cf. the Owners' Agreement.

2. Competition rules and procurement procedure

2.1 Competition rules

The general competition rules are governed by the Norwegian Regulation on procurement rules in the utility sectors (the Utilities Regulation), Part I and Part II.

2.2 Access to documents

The Contracting Entity is subject to the Norwegian Freedom of Information Act (Offentleglova). In the event of a request for access to tender documents, the relevant Tenderer will be contacted for input on redactions before release. The Contracting Entity does not grant access to information falling within section 13 (2) of the Public Administration Act.

2.3 Procurement procedure

The procurement procedure is competitive procedure with negotiation, cf. the Utilities Regulation section 9-1.

Up to 3 Tenderers will be qualified for the tender stage and invited to negotiations. If the Contracting Entity receives qualification requests from more than 3 Tenderers, the following selection criterion will be applied:

S1: Best quality of experience from comparable assignments, cf. section 4.3.

After receipt of tenders, the Contracting Entity may, based on the award criteria, reduce the number of Tenderers permitted to continue in negotiations. The Contracting Entity reserves the right to reduce the number of Tenderers before the start of negotiations and up to contract award.

2.4 Rejection of tenders

Grounds for rejection follow the Utilities Regulation chapter 20. A tender may or shall be rejected if:

- the tender is submitted or signed by a legal entity other than the one pre-qualified.

- the tender is submitted outside Mercell.

- the tender cannot be considered binding.

- the tender contains material deviations from the tender documents.

- the tender contains reservations against the SF6-free requirement or other absolute requirements in the specification.

2.5 Climate and environmental considerations

Section 7-9 (4) of the Utilities Regulation provides that "Award criteria pursuant to subsections two and three may be replaced by climate and environmental requirements in the technical specification, provided that this clearly results in a better climate and environmental effect and is justified in the procurement documents." The Contracting Entity has concluded that this provision applies to the present procurement.

The Contracting Entity imposes an absolute prohibition against SF6 gas. SF6 has a global warming potential approximately 23 500 times higher than CO₂ and currently constitutes the largest single source of BKK's greenhouse gas emissions.

Through Regulation (EU) 2024/573, the EU has established a phased withdrawal of fluorinated greenhouse gases, including SF₆, in electrical switchgear, with a prohibition on commissioning new high-voltage equipment containing such gases from 2028-2032. The regulation is EEA-relevant and is expected to be implemented into Norwegian law. Although the date of implementation in Norway has not yet been determined, the requirement is nevertheless applied in this procurement.

The principal climate and environmental requirement set in this competition is that the insulation gas must be fluorine-free, given its potent greenhouse effect. The rationale for this requirement is that the exclusion of fluorinated gases provides a substantial and documented positive climate effect, as fluorinated gases have a very high global warming potential compared with alternative solutions. The requirement is therefore considered particularly suitable to ensure that the procurement contributes to a real reduction of greenhouse gas emissions. The requirement ensures that all tenders meet the desired environmental standard.

An absolute prohibition in the technical specification is deemed to provide a stronger environmental effect than an award criterion. The condition in section 7-9 (4) of the Utilities Regulation is considered fulfilled.

2.6 Security and non-disclosure

The facility forms part of critical infrastructure. Technical specifications and the single line diagram are classified as power sector sensitive information, and will only be released in Stage 2 (the tender stage) after the qualified Tenderer has signed Appendix 4 - Security Agreement. The Security Agreement is available in both Norwegian and English.

The following material is classified as power sector sensitive and is released after signing of the Security Agreement:

- Single Line Diagram

- BKK's Principles for local control systems

- SDOK-41-34 Special Specification (parts of the content)

- SDOK-41-51 Performance and type test table (Appendix A)

- SDOK-83-5 Principles for local systems Statnett

- SDOK-83-58 Interlocking of disconnecting switches

The Tenderer shall treat all information received in connection with the competition as strictly confidential, and may not disclose such information to any third party without prior written consent from the Contracting Entity.

3. European Single Procurement Document (ESPD)

3.1 General information on the ESPD

As preliminary documentation of compliance with the qualification requirements, the absence of grounds for exclusion, and any fulfilment of the selection criterion, the Supplier shall complete the ESPD form in Mercell. The form shall be submitted together with the qualification request.

The Contracting Entity may at any time during the competition request that Suppliers submit all or part of the supporting documentation if this is necessary to ensure the proper conduct of the competition, cf. the Utilities Regulation section 12-1.

If several Suppliers participate jointly in the competition, each participating Supplier shall submit a separate ESPD.

3.2 National grounds for exclusion

Pursuant to Part III, section D of the ESPD, Norwegian procurement rules go further than the EU procurement directives. All grounds for exclusion in section 20-2 of the Utilities Regulation apply to this competition, including the purely national grounds.

The following grounds for exclusion in section 20-2 are purely national:

- Section 20-2 (2): Obligation to exclude suppliers who have accepted a penalty notice (forelegg) for the specified criminal offences.

- Section 20-2 (3) letter i: Other serious misconduct that may cast doubt on the supplier's professional integrity.

3.3 Combined declaration for all qualification requirements

In the ESPD, Suppliers may provide a combined declaration that they fulfil all qualification requirements set out in the tender documents. This is done in Part IV section α of the ESPD form.

4. Qualification requirements

In order to have its tender evaluated, the Supplier shall complete the ESPD in Mercell and submit the documentation requested in sections 4.1 to 4.3 together with the qualification request.

4.1 Supplier's organisational and legal standing

| Requirement | Documentation requirement |
| --- | --- |
| The Supplier shall be registered in a business register, professional register or commercial register in the state where the Supplier is established. | Norwegian companies: Certificate of registration (firmaattest). Foreign companies: Documentation that the company is registered in a business register, professional register or commercial register in the state where the Supplier is established. |
| The Supplier shall have its affairs in order with regard to the payment of tax, employer's social security contributions and value added tax. | Norwegian suppliers: Tax certificate (skatteattest), not older than 6 months. Foreign suppliers: Equivalent certificate from the tax authorities in the supplier's home state, not older than 6 months. |

4.2 Supplier's economic and financial capacity

| Requirement | Documentation requirement |
| --- | --- |
| The Supplier shall have sufficient economic and financial capacity to perform the contract, taking into account the estimated value of the procurement (NOK 99-150 million). Creditworthiness without a requirement for security is sufficient. | Credit assessment based on the most recent financial statements, prepared by a licensed credit rating agency. The assessment shall be dated no earlier than 3 months before the tender deadline. For foreign suppliers: Equivalent credit assessment from a recognised international credit rating agency (for example Dun & Bradstreet, Experian, Creditreform). The Contracting Entity reserves the right to obtain further credit rating or other financial information. |
| If the Supplier has valid grounds for not submitting the documentation requested, the Supplier may document its economic and financial capacity by submitting any other document that the Contracting Entity considers suitable. |  |

4.3 Supplier's technical and professional qualifications

| Requirement | Documentation requirement |
| --- | --- |
| The Supplier shall have experience from comparable assignments, including technology for SF6-free GIS installations. | Description of up to three of the Supplier's most relevant assignments during the last 5 years. The description shall include the value, time, scope of supply and the name of the recipient. It is the Supplier's responsibility to document relevance through the description. |
| The Supplier shall have a satisfactory quality management system. | Account of the Supplier's quality management system, or a copy of a certificate from an independent body demonstrating compliance with a relevant standard (ISO 9001 or equivalent). |
| The Supplier shall have a satisfactory environmental management system. | Account of the Supplier's environmental management system, or a copy of a certificate (ISO 14001:2015, EMAS, Miljøfyrtårn or equivalent). |
| The Supplier shall fulfil Statnett's requirements for the supply. | The Supplier shall document fulfilment of the requirements by submitting a fully completed Appendix 10 - Appendix A Performance and type test table (SDOK-41-51). |

5. Deadlines

5.1 Qualification and tender deadline

The deadline for submitting qualification requests and tenders is set out in Mercell. Indicative deadlines:

| Milestone | Date/time |
| --- | --- |
| Publication of the procurement | 29.05.2026 |
| Deadline for qualification request (Stage 1) | 30.06.2026 at 12:00 |
| Notification of qualification result (Stage 2) | Week 27-28 |
| Tender deadline | 05.10.2026 at 12:00 |
| Negotiations | Week 43 |
| Planned contract award (design freeze) | 14.12.2026 |

Mercell will prevent the submission of qualification requests and tenders after the deadline. User access and training must be arranged well in advance of the deadline.

5.2 Validity of the tender

The tender shall remain valid for 120 days from the tender deadline.

6. Conduct of the competition

6.1 Requirements for the Tenderer

The Tenderer shall familiarise itself with the tender documents and obtain all information necessary to submit a qualification request and, subsequently, a complete tender.

The Tenderer shall confirm that it has, or will establish, a service organisation in Norway for the type of installation offered.

6.2 Communication

All communication between the Contracting Entity and the Tenderers shall take place through Mercell until the tender deadline. Questions are anonymised and responses are issued to all interested parties via Mercell.

6.3 Language

The tender documents are available in Norwegian and English.

Tenders may be submitted in Norwegian or English.

Written communication, documentation during the contract period, as well as meetings and negotiations, are conducted in English if the Tenderer does not have sufficient command of Norwegian. The Tenderer shall have a level of written and oral English that enables effective project execution.

It is assumed that the Supplier's key personnel have a good command of written and spoken English. The service organisation in Norway shall be capable of communicating in Norwegian or English in the operational phase.

6.4 Confidentiality

The Tenderer is required to treat all information received in connection with this request and the preparation of its tender as strictly confidential. Security-classified appendices are subject to separate terms, cf. section 2.6 and Appendix 4.

6.5 Costs of preparing the tender

Tenders are prepared at the Tenderer's own expense. The Contracting Entity does not cover costs related to tender preparation, translation, travel, presentations or other tender-related activities.

6.6 Award criteria

The Contracting Entity will select the tender on the basis of the best price-quality ratio, where quality comprises award criteria 2 and 3.

Tenders will be evaluated according to the following criteria:

| Weight | Criterion | Description | Documentation requirement |
| --- | --- | --- | --- |
| 40 % | 1. Cost | The Supplier's prices and other relevant costs related to the solution, including maintenance costs, life-cycle costs (LCC) and any deviations. The Contracting Entity reserves the right to separately price all reservations made by the Tenderer. | Prices for a complete functioning installation. Unit prices for additional equipment in accordance with Appendix 03 Price schedule. |
| 40 % | 2. Time | The Supplier's offered delivery time measured from contract signing (design freeze) to a fully installed and commissioned installation. The delivery time shall include production, transport and installation. The Contracting Entity expects a realistic schedule. The Contracting Entity will evaluate the offered delivery time, including realism and feasibility. The evaluation will include: Whether the planned schedule is based on realistic time assumptions, sufficient resources and an appropriate sequence of activities. Understanding of the project scope and duration. Identified assumptions and the credibility of those assumptions. Planned schedules that appear unrealistically compressed or rely on assumptions that do not appear plausible or documented will be assessed less favourably. | Binding schedule (MS Project or equivalent) with defined milestones (engineering, factory, FAT, transport, installation, SAT, commissioning), method, interfaces in the project and use of resources. Documentation of reserved production capacity at the factory. |
| 20 % | 3. Technical solution | The Supplier shall document that the technical solutions offered fulfil the requirements and needs set out in Appendices 7-21. The documentation shall be structured and contain clear references to the relevant requirement points, so that the Contracting Entity can verify compliance. | Description of the technical solution, including main principles and system structure. Documentation of fulfilment of requirements in Appendices 7-21, with explicit references to the relevant requirement points. This may be done by inserting comments in blue text and returning the document as a Word file. |

6.7 Evaluation model

Proportional model:

For award criterion 1 (Cost), the competition price is the tender price if this is a fixed price. In the case of composite pricing, the total cost is calculated, or where applicable the life-cycle cost. The lowest total cost is awarded 10 points × cost weight.

Formula for cost: Score Pe = 10 × Pb / Pe × Wc

where:

- Pe = evaluated tender

- Pb = best tender (lowest price/cost)

- Wc = weight for the cost criterion

For award criterion 2 (Time), a proportional model applies between a realistic minimum (floor) and a maximum (ceiling). Times below the floor do not generate additional points due to risk. Times above the ceiling are considered non-competitive.

For award criterion 3 (Technical solution), the tender is graded on a discretionary basis from 1-10, where 10 is best. The score is multiplied by the weight of the criterion.

6.8 Outcome of the competition

The outcome of the competition is communicated to all participating Tenderers. The notification will state the decisive factors for the award, cf. the award criteria.

7. Content of the qualification request - Stage 1

The qualification request shall consist of the elements listed below and be organised in the same order:

| No. | Subject |
| --- | --- |
| 1 | ESPD - the European Single Procurement Document (completed in Mercell). |
| 2 | Documentation of fulfilment of the qualification requirements, cf. sections 4.1-4.3. |
| 3 | Completed Appendix 05 Subcontractors, and a declaration of commitment where applicable, if the Supplier relies on a subcontractor to be qualified. |
| 4 | Any other information the Supplier considers relevant to the qualification assessment. |

Documents shall be numbered, and file names shall indicate the contents of the documents.

8. Format and content of the tender - Stage 2

8.1 Content of the tender

The tender shall consist of the elements listed below and be organised in the same order:

| No. | Subject |
| --- | --- |
| 1 | Appendix 1 - Tender letter (signed). |
| 2 | Appendix 2 - Tenderer's reservations and deviations (completed). |
| 3 | Appendix 3 - Self-declaration on wages and working conditions. |
| 4 | Documentation relating to the "Cost" award criterion (Appendix 03 Price schedule). |
| 5 | Documentation relating to the "Time" award criterion (Binding schedule). |
| 6 | Documentation relating to the "Tenderer's execution capability" award criterion (project and service organisation, CVs, response times). |
| 7 | Technical response to the specification (Appendix 01 Scope of Work + SDOK-41-34/-38), including a completed Appendix D (deviation of the specification) where applicable. |
| 8 | Completed Appendix 05 Subcontractors. |
| 9 | Confirmation of securities and guarantees (Appendix 06). |
| 10 | Other relevant documentation. |

Documents shall be numbered, and file names shall indicate the contents of the documents.

8.2 The tender letter

The Tenderer shall confirm that the request has been answered in full, and that the tender is consistent with the assumptions set out therein.

All reservations, clarifications and any deviations must appear in the tender letter in order to be invoked.

In the tender letter, the Tenderer shall appoint a contact person who will have responsibility and authority to follow up this request.

8.3 Submission of the qualification request and tender

The Tenderer shall submit the qualification request and tender in Mercell in accordance with the instructions and deadlines stated.

8.4 Opening of tenders

There will be no public opening of tenders.

8.5 Negotiations

Negotiations are planned to be conducted in week 43. Holiday periods will be taken into account. Negotiations may be conducted in person or digitally.

8.6 Contract award

Contract award is planned for 14.12.2026. The contract award date constitutes the design freeze. After this point, the technical interface and main solution are locked, and changes shall be handled in accordance with the change management regime in KOLEMO 3.2.

The contract is signed by BKK AS and Statnett SF, cf. the Owners' Agreement section 11.2. Ownership of the 3 units of 145 kV transformer bays is transferred to Statnett upon takeover, while the remaining supply remains with BKK.