## Information
Appendices 1 and 2
<ANSK-26-0150 Motstrøms betongblander
Information to the supplier:
The requirements in the table of requirements form the basis for the Supplier’s description of its solution specification cf. Appendix 1 and 2. The Supplier must give an extensive description of all requirements so that the Parties will have a common understanding of what is to be delivered, or which can give the Buyer alternative perspectives to the requirements expressed in the Buyer’s requirements specification.
The different requirements have different priority.
Priority A = Absolute requirements that must be fulfilled. Tenders that do not fulfill all the absolute requirements will be rejected.
Priority B = Important requirements that should be fulfilled, but it is not an absolute requirement. Answers will be of great importance for the evaluation of the tender. The requirements are weighted higher than C-requirements.
Priority C = Conditional requirements that should be fulfilled, but it is not an absolute requirement. Answers will be of importance for the evaluation of the tender. The requirements are weighted lower than B-requirements.
When filling out the table of requirements the Supplier shall mark an (X) in the column for yes, partly or no under “the Supplier’s fulfilment”. Reference to relevant documentation and any additional comments shall be made in the column “Comment”. It is reminded that it is the duty of the Supplier to document that it fulfils the set requirements. Any missing documentation will result in the requirement being considered as not fulfilled.
Document contents:
This document consists of Appendices 1 and 2. Make sure that all the tabs are filled out and answered according to the buyers requirments.

## Appendix 1_2
Appendix 1_2 | Kolonne1 | Kolonne2 | Kolonne3 | Kolonne4 | Kolonne5 | Kolonne6 | Kolonne7
<ANSK-26-0150 Motstrøms betongblander
Req. | Priority: | Description: | The supplieres fulfilment: |  |  | Response/comments:
|  |  | Yes | Partly | No
General requirements |  |  | General requirements
1 | A | Deliverables: The offer must contain all elements that the offer for the equipment/instrument must be able to function as intended. The offer shall include alle deliverables, such as: - The delivery of all items included in the offer, after formal order from the buyer - Documentation in English for the system/equipment - Software is to be the latest updated version at the point of delivery - List of spareparts with prices. - Control unit - Provision of all documents pertaining to the equipment which is part of this tender to include, but not limited to, maintenance manuals, operation manuals and commissioning certificates.
2 | A | Service: The supplier shall provide offers for the following maintanance agreement: • Full service agreement (including travel cost, spareparts etc) offer for service agreement during the warranty period. • Maintanance agreement (excluding travel costs, spareparts etc.) offer for service agreement during the warranty period. The buyer must include one of the above mentioned maintanance agreements in the price evaluation. Please specify what is included in the above mentioned agreements, and quote prices in appendix 3, table 2.
3 | A | Warranty: The system/equipment shall be offered with a minimum of 12 months of warranty. The warranty period shall begin after the Site Acceptancy Test (SAT). Content and coverage of guarantee must be specified. Warranty period starts when the delivery has been accepted through a Site Acceptance Test (SAT). To make sure that both parties accept the delivery, there should be a mutual signing of the attached approval protocol.
4 | A | Training: Physical training for use and basic maintenance must be included in the offer. The offer must include on-site training for a minimum of 1 of the personnel from the supplier, and a minimum of 3 from the buyer must be able to participate. In addition, both professional and technical staff from the buyer must have the opportunity to be present at the time/date of delivery and signing of the approval protocol.
5 | B | Training: We ask the offeror to specify: - The content/subjects included in the training - A plan that describes how the training will take place and the length of the training - Number of people from NTNU who can participate in the training (minimum 3) - Type and locations of other additional courses/training offered by the supplier
6 | A | Support: E-mail and telephone support shall be included in the offer. If remote support is available for the offered equipment/system, this shall also be included. Other available support methods shall be mentioned in the suppliers response. If there are conditions for such a support, this should be described here.
7 | B | Support: E-mail and telephone support for the offered item/instrument should be included in the offer. Other available support methods should be mentioned in the suppliers response. If there are conditions for such a support, this should be described here.
8 | B | Response time: Normal response time should be described by the supplier (e.g. hours, days) from a fault/error has been reported in writing from the buyer until the supplier can offer a solution to maintain a certain uptime on the offered equipment.
9 | B | Claims within the warranty periode: If it occours problems during the warranty periode, the supplier shall work continually to resolve the problem. If the supplier`s not able to repair the problem within the responstime given, the supplier should offer loan parts or loan of equipment until the problem is resolved. Conditions to such a solution should be described in the response column in appendix 2.
10 | A | Electricity/power: The equipment shall accept Norwegian power supply (240 V, 50 Hz or 380 V/400 V/50 Hz). The system should be simple to upgrade with respect to forthcoming hardware and software. Please describe the offered solution for electrical and other technical preferences. For further need of description, please use our appendix 4 in the tender document.
10 | A | All costs from the supplier concerning the offer, installation, travelling costs etc is to be included in the offer given in this tender. This means all costs for the supplier up until the SAT and formal takeover.
11 | A | Delivery and signing of approval protocol: Upon delivery of the item/instrument, an approval protocol must be signed by both supplier and buyer. Any deviations from the offer must be documented and a timetable for corrections established. Minor deviations will not start the warranty period.
12 | B | Demonstration: The supplier should be able to present the offered solution for a demonstration if the buyer should choose to have the system demonstrated. The buyer should have the right to a demonstration but shall not be obligated to do so. The demonstration should either be presented at the buyers loaction and/or at a location were the offered system is being used. Please refer to sites were the offered system is being used.
13 | B | Delivery time: Enter the expected delivery time of the offered product/instrument from the date of the PO.
Technical requirements |  |  | Technical requirements
14 | A | The offered equipment shall have a nominal maximum mixing capacity of at least 50 liters. Assuming a concrete density of approx. 2400 kg/m³, the mixer shall be capable of mixing batch sizes of up to at least 120 kg (≈ 50 liter). The supplier shall document the maximum effective mixing capacity in both volume and mass.
15 | B | The offered equipment shall allow for efficient mixing of reduced batch sizes down to approximately 25 liters (≈ 60 kg at a concrete density of approx. 2400 kg/m³). Minor deviations from this value are acceptable. The supplier shall document the minimum effective mixing capacity in both volume and mass.
16 | B | If there are any limitations related to material density, filling level, or operational constraints - this should be described.
17 | B | The lid must be easy to open during mixing for inspection (when the mixer is stopped), and it must be easy to resume mixing once the lid is closed. The supplier is asked to describe the solution for the given system.
18 | A | Working height and ergonomics: The supplier is asked to include relevant illustrations or schematics.
19 | B | The mixer shall be equipped with an operational control system that allows easy setting and programming of the mixing cycle.
20 | B | It must be possible to operate the mixer with a constant rotational speed over a selected time interval, or to assemble a mixing cycle consisting of multiple steps with individually adjustable durations and rotational speeds. The supplier is requested to describe the system’s functionality, user interface, and available configuration options in detail.
21 | A | The system shall allow efficient filling and mixing of materials, with only minimal need for manual scraping of paste or other residues. The supplier is requested to describe how the design facilitates smooth filling and emptying, and how the system minimizes the need for manual intervention.
22 | B | The mixer shall be designed to allow easy and effective cleaning. The supplier is requested to describe the cleaning procedures, accessibility of components, and any built‑in features that support safe and efficient cleaning.
23 | A | The equipment, both during installation and in its fully assembled state, shall fit within the available space in the designated mixer room. The supplier must ensure that all components can be transported through the doorway and installed without requiring structural modifications. The following dimensional constraints apply: • Doorway to mixer room: height 204 cm, width 150 cm (double door) • Ceiling height in mixer room to be : Ventilation duct (lowest point along the access path): 240 cm, Structural beam (second lowest point): 260 cm, Ceiling: 290 cm The supplier is requested to confirm that the proposed equipment fits within these constraints and to provide dimensional drawings showing required clearance for installation, operation, and maintenance.
24 | A | Measurement of rheology shall be possible for each mixture, if desired, according to searle principle (applied torque, measured rotational speed) or similar in a user-friendly control system that records rotational speed versus torque resistance in a simple manner that can be easily exported and used in for example excel. • Flow curves to be measured both upward (increasing speed) and downward (decreasing speed) in multiple steps, with constant speed and near-equilibrium torque at each plateau. • The number of plateaus at the different rotational speeds shall be sufficient to capture both flow curves and thixotropy (difference between upward and downward curves). • Data acquisition and analysis of flow curves (torque resistance as a function of rotational speed) according to the Bingham and Herschel–Bulkley models, and thixotropy analysis. (Full calculation of plastic viscosity and static/dynamic yield stress in Pa·s and Pa is not required.)
25 | B | The supplier shall state the expected delivery time from receipt of purchase order to delivery at NTNU, Trondheim. Delivery time must include manufacturing time, transport, and any required pre‑assembly. The supplier shall also specify: • Earliest possible delivery date. • Any factors that may influence delivery time.
26 | B | All user manuals, maintenance instructions, safety documentation, and software interfaces shall be available in English. Technical support, service communication, and troubleshooting assistance must also be available in English. The supplier shall specify: • Languages available for documentation and user interface. • Languages available for technical support (email, phone, remote assistance). • Availability of service personnel capable of providing support in Norwegian or English.
Computer/Software |  |  | Computer/Software
27 | B | Updates: All available updates which relate to security and "bugfix" should be delivered free of charge in the equipments expected lifetime. Other software updates should be offered to the buyer based on the same premium model as the offer for this tender.
28 | B | The control unit should have Norwegian or English user interface.
29 | B | Licence: All delivered software and hardware to the requested equipment shall be included and specified. The buyer should have the right to perform installations/changes if necessary in the delivered equipment/systems. All required licences shall be included in the offer. If there are special conditions to the above, the supplier shall specify this. The buyer states also that we shall have the right to loan the procured equipment including the lincenced software to a third party. If there are restrictions to such, this shall be specified.
30 | A | Intellectual property: If the supplier which the buyer has purchased right of use from, possesses the intellectual property in all delivered products, both hardware and software, special limitations to the buyers right to use shal be clearly described.
Environment |  |  | Environment
31 | B | The equipment shall have a long service life, with all load‑bearing and concrete‑exposed components designed for high durability and wear resistance, and with materials suitable for long‑term laboratory use. The supplier is asked to specify: • Materials used for wear‑exposed parts (e.g., paddles, mixing arms, lining, bottom plate). • Expected service life under normal laboratory operation. • Recommended inspection intervals and replacement procedures for wear parts. • Availability and cost level of spare parts.
32 | B | The supplier is asked to describe any design features intended to reduce wear, facilitate maintenance, or extend component lifetime.
33 | B | The supplier is asked to document the expected need for repairs, upgrades and spare parts for the offered equipment, based on their experience with similar deliveries over the past 10 years.
34 | B | The equipment should have low energy consumption. The supplier is asked to account for and document electricity consumption.
35 | B | The supplier is asked to describe the equipment's "carbon footprint" from production to delivery. Documented calculations will be given priority.
36 | B | The supplier is asked to account for and document whether and which environmental labels and/or environmental standards the equipment meets.
Options |  |  | Options
37 | B | Warranty: The supplier shall offer additional year(s) of extended warranty in appendix 3 (attached), which the buyer shall have the right, but not obligated to purchase within the first year of warranty. Please specify the conditions for extended warranty and quote price in appendix 3.
38 | B | Option Miscellaneous: The Contracting Authority shall have the right, but not the obligation, to purchase consumables, wear parts, additional equipment, implements, superstructures, software, upgrades, and other accessories compatible with the offered machine during the contract period. The option shall also include products, equipment, and upgrades that become commercially available for the offered machine model after the conclusion of the contract. The Tenderer shall describe the available assortment and state the current pricing model, price list, or discount structure for such deliveries. Mark any appendices with "Option Miscellaneous"! The option is not included in the evaluation, but may be ordered by the Contracting Authority during the contract period.
39 | B | Service: The supplier shall provide offers for the following maintanance agreement: • Full service agreement (including travel cost, spareparts etc) offer for service agreement beyond the warranty period requested in A requirement. • Maintanance agreement (excluding travel costs, spareparts etc.) offer for service agreement beyond the warranty period requested in A requirement. The buyer must include one of the above mentioned maintanance agreements in the price evaluation. Please specify what is included in the above mentioned agreements, and quote prices in appendix 3, table 2.
The buyer specifies that the supplier must elaborate/comment on all responses in the Response/Comments column. If the supplier considers it relevant, the supplier shall post attachments that underpin responses. Requirements which will be referred to as "refers to the attachment" and or incomplete response, may be perceived as not answered and could get 0 points in the evaluation.