## Forklaring til kravspek
FORKLARING TIL KRAVSPESIFIKASJON
Beskrivelse av krav
Oppdragsgiver har gitt hver linje i kravspesifikasjonen et unikt identifikasjonsnummer. Dette for lettere å kunne henvise til riktig punkt i kravspesifikasjonen ved behov.
Oppdragsgiver har beskrevet ulike krav til produktet i form av obligatoriske krav (O-krav) og evalueringskrav (EV-krav).
I evalueringen vil det benyttes en skala fra 0-10. Alle evaluleringskravene teller likt.
Krav-type
Obligatoriske krav (O-krav) er absolutte minstekrav som må være oppfylt for at tilbudet kan anses å tilfredsstille kravspesifikasjonen. Dersom et O-krav ikke er oppfylt vil tilbudet bli avvist. Det kan ikke tas forbehold mot O-krav. Obligatoriske krav angis av oppdragsgiver i kolonnen for "Krav-type" som "O".
Evalueringskrav (EV-krav) er ikke minstekrav. Det tilbudet som oppfyller EV-kravet best vil få flest poeng. Evalueringskrav angis av oppdragsgiver i kolonnen for "Krav-type" som "EV".
Tilbyders utfylling i kravspesifikasjonen:
Hvite felt skal fylles ut av tilbyder.
Tilbyder skal ikke legge til eller slette verken linjer eller kolonner i kravspesifikasjonen.
Oppfylles kravet?
Tilbyder skal her krysse av med "X" for om det tilbudte produkt oppfyller kravet som angis i punktet.
Kryss i kolonnen for "Ja" = Kravet er oppfylt.
Kryss i kolonnen for "Nei" = Kravet er ikke oppfylt.
Beskrivelse/henvisning til nærmere beskrivelse
Tilbyder skal i dette feltet kort beskrive hvordan kravet er oppfylt. En tydelig og poengtert besvarelse her vil lette Oppdragsgivers evaluering av tilbudet. Det skal også her henvises til hvor i besvarelsen utdypende beskrivelse finnes.

## Kravspesifikasjon
Tilbyders navn:
| Oppdragsgivers kravspesifikasjon |  | Tilbyders svar
Ref. | Beskrivelse av krav | Krav-type | Ja | Nei | Beskrivelse/henvisning til nærmere beskrivelse
Generelle krav for x86 servere
Leverandørens besvarelse
Krav nr. | Kravtekst | Kravtype | Leverandørens oppfyllelse | Leverandørens besvarelse | Leverandørens henvisning
Evalueringskrav
Kravgruppe Vedlikehold/Support
1 | Statens vegvesen skal ha tilgang til en portal med en fullstendig oversikt over hvilket utstyr som er innenfor supportavtale, hvilket lisensnivå som er aktivert på hvilket utstyr, og når supportavtale tilknyttet en enhet utløper. Denne portalen kan leveres gjennom leverandøren selv eller produsent. | Evalueres | [beskrives]
2 | Alt utstyr skal leveres komplett med komponenter og eventuelt programvare og vedlikehold, slik at utstyret tilfredsstiller de krav som satt, samt at de ytelser som tilbyder har beskrevet at utstyret har, er i tråd med det som fremkommer i den konkrete bestilling | Obligatorisk | [Ja/Nei]
3 | Leverandør skal tilby service og support på utstyr som tidligere er anskaffet og hvor serviceavtale skal fornyes. Herunder skal det også kunne leveres utvidelser og nyinnkjøp for komplettering av eksistrende installbase. | Obligatorisk | [Ja/Nei]
4 | Beskriv hvordan leverandøren skal sikre at kunden har oversikt over økonomiske forpliktelser på uttak via denne avtalen for å unngå uforutsette utgifter/kostnader. | Evalueres | [beskrives]
5 | Leverandøren skal beskrive produsentens policy for End of Life av produkter, samt evt. priser for "extended support". | Evalueres | [beskrives]
Kravgruppe Teknisk Støtte
6 | Kunden skal ha direkte tilgang til programvareoppdateringer og dokumentasjon uten å gå via forhandler, for eksempel gjennom produsenten sine nettsider. | Obligatorisk | [Ja/Nei]
7 | Kunden ønsker en leverandør som er partnersertifisert "Titanium" eller høyere hos Dell | Obligatorisk | [beskrives]
8 | Beskriv deres (leverandørens) apparat for å håndtere Statens vegvesen som kunde for denne rammeavtalen med funksjoner som skal understøtte Statens vegvesen som kunde. | Evalueres | [beskrives]
9 | Beskriv produsentens supportapparat for å håndtere det norske markedet, den tekniske kompetansen samt oppdragsgivers tilgang til kompetansen. | Evalueres | [beskrives]
10 | Leverandør skal stille disponibelt varelager for mellomlagring av innkjøpt utstyr i transitt til datasentrene våre. | Obligatorisk | [Ja/Nei]
| Beskriv mellomlagringen | Evalueres | [beskrives]
Kravgruppe Miljø
11 | Leverandøren er forpliktet til å etterleve den til enhver tid gjeldende miljølovgivning gjennom hele avtaleperioden. | Obligatorisk | [Ja/Nei]
Leverandør skal arbeide aktivt for å minske miljøbelastningen ved oppfyllelse av avtalen.
12 | Helse- og miljøskadelige stoffer | Obligatorisk | [Ja/Nei]
Leverandørene skal overholde følgende regelverk, samt kun levere produkter på Rammeavtalen som er i samsvar med:
• Forskrift om begrensning i bruk av helse- og miljøfarlig kjemikalier og andre produkter (Produktforskriften)
• REACH-forskriften som dekker EUs REACH-forordning om registrering, vurdering, autorisasjon og begrensninger av kjemikalier'
13 | Håndtering av EE-avfall | Obligatorisk | [Ja/Nei]
Leverandørene skal ta imot, sortere, oppbevare og behandle EE-avfall som omhandles av denne rammeavtalen iht. Forskrift om gjenvinning og behandling av avfall (avfallsforskriften).
14 | For mer informasjon se Miljødirektoratets informasjonsside: Elektrisk og elektronisk avfall (EE-avfall) - Miljødirektoratet (miljodirektoratet.no).
16 | Medlemskap i returordning | Obligatorisk | [Ja/Nei]
Leverandørene skal ha medlemskap i et godkjent returselskap. Kravet er oppfylt ved medlemskap i Grønt Punkt, Norsirk eller tilsvarende. Leverandøren gir 6 måneder fra kontraktsstart til å implementere dette.
Leverandørene bes bekrefte, samt legge ved gyldig medlemskapsbevis dersom man allerede har medlemskap.
Kravgruppe Fagling utvikling
15 | Kunden ønsker å holde seg faglig oppdatert på utvikling og trender innenfor området. | Evalueres | [beskrives]
Leverandør bes beskrive hvordan dette ivaretas av leverandør og produsent.

## Prisskjema
Leverandørene skal oppgi en totalpris pr kategori i kolonne "E". Leverandør skal oppgi rabattsats pr kategori i % på produsentens ofisielle listepris kolonne "F"
Kategori 1 - PowerScale F710 (Utvidelse av eksisterende lagring) | Antall |  | Pris til SVV | Rabattsats benyttet
PowerScale F710 | 2 | Hardware | Fylles inn av leverandør | Fylles inn av leverandør
77TB (7.68TBx10) ISE NVMe SSD |  | Hardware
FE 2x100GbE w/o Optics |  | Hardware
BE 2x100GbE w/o Optics |  | Hardware
m/tillhørende SW og Support |  | Software
Kategori 2 - PowerScale A300L (utvidelse av eksisterende lagring) | Antall |  | Pris til SVV | Rabattsats
PowerScale A300L | 2 | Hardware | Fylles inn av leverandør | Fylles inn av leverandør
120TB (15x8TB) ISE /800GB SS |  | Hardware
BE 2x25GbE (SFP28) |  | Hardware
FE 2x25GbE (SFP28) |  | Hardware
m/tillhørende SW og Support |  | Software
Kategori 3 - vSAN ReadyNode u/GPU | Antall |  | Pris til SVV | Rabattsats
VSAN-RN R6715 | 100 | Hardware | Fylles inn av leverandør | Fylles inn av leverandør
vSAN Express Storage Architecture AF-0 | 1 | Others
NVMe, VSAN Ready Node | 1 | Hardware
IDM/Personality Module, VSAN-RN R6715 | 1 | Others
Chassis with up to 16 E3.S NVMe Direct Drives | 1 | Others
Perfect sealing with foam | 1 | Hardware
AMD EPYC 9455 3.15GHz, 48C/96T, 256 Cache (300W) DDR5-6400 | 1 | Hardware
Heatsink for 1 CPU Configuration (CPU greater than 240W) | 1 | Others
Performance Optimized for more than 12 DIMMs | 1 | Hardware
6400MT/s RDIMMs | 1 | Hardware
64GB RDIMM, 6400MT/s, Dual Rank | 24 | Others
C30, No RAID for NVME chassis | 1 | Hardware
No Controller | 1 | Hardware
No Hard Drive | 1 | Hardware
3.2TB Data Center NVMe Mixed Use AG Drive E3s Gen5 with carrier | 1 | Hardware
3.84TB NVMe Read Intensive AG Drive E3s Gen5 with carrier | 16 | Others
Power Saving BIOS Settings | 1 | Hardware
No Energy Star | 1 | Hardware
UEFI BIOS Boot Mode with GPT Partition | 1 | Software
PowerEdge 1U High Performance Silver Fan | 1 | Others
Dual,Redundant(1+1),Hot-PlugMHSPowerSupply,1500WMM(100-240Vac)Titanium | 1 | Others
C13 to C14, PDU Style, 10 AMP, 13 Feet (4m), Power Cord | 2 | Hardware
Riser Config 5, 2 x16 LP Slots (Gen5), 2nd OCP | 1 | Others
PowerEdge R6715 Motherboard V2 | 1 | Hardware
NVIDIA ConnectX-6 Dx Dual Port 100GbE QSFP56 Adapter, OCP 3.0 NIC +Sec | 1 | Others
Rear Filler Blank for BOSS/OCP | 1 | Hardware
Dell E3 Luggage Tag, PowerEdge R6715 | 1 | Others
PowerEdge 1U Standard Bezel | 1 | Others
BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) (22x80) | 1 | Others
No Operating System | 1 | Software
No Media Required | 1 | Software
OpenManage Enterprise Advanced Plus | 1 | Others
Secure Enterprise Key Manager License 3.0 | 1 | Software
Secured Component Verification | 1 | Software
iDRAC10, Datacenter 17G | 1 | Others
Blank Left Ear Module | 1 | Hardware
iDRAC Legacy Password for OCP cards | 1 | Others
ReadyRails Sliding Rails (A15) | 1 | Hardware
PowerEdge Shipping EMEA1 (English/French/German/Spanish/Russian/Hebrew) | 1 | Hardware
PowerEdge R6715 Shipping,APCC,CCC4 | 1 | Hardware
PowerEdge 1U Shipping Material | 1 | Hardware
PowerEdge No CCC, CE Label Marking | 1 | Others
Dell EMC PowerEdge QSFP28 SR4 100GbE 85C Optic MPO | 2 | Hardware
Next Business Day 36MONTHS | 1 | Services
ProSupport Next Business Day Onsite Service Initial, 36 Måned(er) | 1 | Services
ProSupport Next Business Day Onsite Service Extension, 48 Måned(er) | 1 | Services
Kategori 4 - vSAN ReadyNode m/gpu | Antall |  | Pris til SVV | Rabattsats
VSAN-RN R7715 | 100 | Hardware | Fylles inn av leverandør | Fylles inn av leverandør
vSAN Express Storage Architecture AF-0 | 1 | Others
NVMe, VSAN Ready Node | 1 | Hardware
IDM/Personality Module, VSAN-RN R7715 | 1 | Others
Chassis with up to 8 E3.S NVMe Direct Drives | 1 | Others
AMD EPYC 9555P 3.20GHz, 64C/128T, 256 Cache (360W) DDR5-6400 | 1 | Hardware
Heatsink for GPU Configuration (CPU greater than 240W) | 1 | Others
Performance Optimized | 1 | Hardware
6400MT/s RDIMMs | 1 | Hardware
128GB RDIMM, 6400MT/s, Dual Rank | 12 | Others
C30, No RAID for NVME chassis | 1 | Hardware
No Controller | 1 | Hardware
No Hard Drive | 1 | Hardware
3.2TB Data Center NVMe Mixed Use AG Drive E3s Gen5 with carrier | 4 | Hardware
Power Saving BIOS Settings | 1 | Hardware
UEFI BIOS Boot Mode with GPT Partition | 1 | Software
No Energy Star | 1 | Hardware
PowerEdge 2U High Performance Platinum Fan | 1 | Others
Dual,Redundant(1+1),Hot-Plug MHS PSU,3200W MM HLAC(Only for 200-240Vac)Titanium | 1 | Others
No Power Cord | 1 | Hardware
Riser Config 8, 2 x16 LP Slots (Gen5), 3 x16 DW FH Slots (Gen5) | 1 | Others
PowerEdge R7715 Motherboard V2 | 1 | Hardware
NVIDIA ConnectX-6 Dx Dual Port 100GbE QSFP56 Adapter, OCP 3.0 NIC +Sec | 1 | Others
No OCP Blanks or Cables Required | 1 | Hardware
NVIDIA L40S, PCIe, 350W, 48GB Passive, Double Wide, Full Height GPU | 1 | Others
GPU Factory Installed R1 Cable for DW GPU | 1 | Hardware
Dell Luggage Tag, PowerEdge R7715 | 1 | Others
PowerEdge 2U Standard Bezel | 1 | Others
BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) (22x80) | 1 | Others
Dell EMC PowerEdge QSFP28 SR4 100GbE 85C Optic | 2 | Hardware
No Operating System | 1 | Software
No Media Required | 1 | Software
OpenManage Enterprise Advanced Plus | 1 | Others
Secure Enterprise Key Manager License 3.0 | 1 | Software
Secured Component Verification | 1 | Software
iDRAC10, Datacenter 17G | 1 | Others
2U Quick Sync Type Left Ear Module | 1 | Hardware
iDRAC Legacy Password for OCP cards | 1 | Others
iDRAC Service Module (ISM), NOT Installed | 1 | Hardware
Strain Relief Bar, 2U | 1 | Hardware
ReadyRails Sliding Rails Without Cable Management Arm (B21) | 1 | Hardware
PowerEdge Shipping EMEA1 (English/French/German/Spanish/Russian/Hebrew) | 1 | Hardware
PowerEdge R7715 Shipping | 1 | Hardware
PowerEdge 2U Shipping Material | 1 | Others
PowerEdge No CCC, CE Label Marking | 1 | Others
Next Business Day Onsite Diagnosis Service, 84 Måned(er) | 1 | Services
Next Business Day 36MONTHS | 1 | Services
ProSupport Next Business Day Onsite Service Initial, 36 Måned(er) | 1 | Services
ProSupport Next Business Day Onsite Service Extension, 48 Måned(er) | 1 | Services
NVIDIA AI Enterprise Subscription per GPU 5 Years Includes Standard 8x5 Support | 1 | Software
Kategori 5-Standard Intel VMware server - region/VTS | Antall |  | Pris til SVV | Rabattsats
PowerEdge R470 Server, Enterprise | 100 | Others | Fylles inn av leverandør | Fylles inn av leverandør
Chassis with up to 16 E3.S NVMe Direct Drives, Rear IO | 1 | Hardware
Intel Xeon 6 Performance 6511P 2.3G, 16C/32T, 72M Cache, Turbo, (150W) DDR5-6400 | 1 | Hardware
Extended heatsink without DIMM blanks | 1 | Hardware
Performance Optimized | 1 | Hardware
6400MT/s RDIMMs | 1 | Hardware
32GB RDIMM, 6400MT/s, Dual Rank | 8 | Hardware
C30, No RAID for NVME chassis | 1 | Hardware
No Controller | 1 | Hardware
No Hard Drive | 1 | Hardware
1.92TB Data Center NVMe Read Intensive AG Drive E3s Gen5 with carrier | 1 | Hardware
Power Saving BIOS Settings | 1 | Hardware
UEFI BIOS Boot Mode with GPT Partition | 1 | Software
PowerEdge 1U High Performance Silver Fan | 1 | Others
Dual,Non-Redundant(2+0),Hot-PlugMHSPowerSupply,800WMM(100-240Vac)Titanium | 1 | Others
C13 to C14, PDU Style, 10 AMP, 6.5 Feet (2m), Power Cord | 2 | Hardware
Riser Config 7, 2x16 LP Slots (Gen 5), 1x16 FLOP OCP, 1x16 Onboard OCP | 1 | Others
PowerEdge R470 Motherboard fo RTS 1.1, ROW | 1 | Others
NVIDIA ConnectX-6 Lx Dual Port 25GbE SFP28 Adapter,OCP 3.0 NIC +Sec | 1 | Others
Rear Filler Blank for BOSS/OCP | 1 | Hardware
HBA465e Adapter Full Height/Low Profile, DIB | 1 | Hardware
No Cables Required | 1 | Others
PowerEdge 1U Standard Bezel | 1 | Hardware
Dell Luggage Tag for E3x16 Chassis | 1 | Hardware
BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) (22x80) | 1 | Others
No Operating System | 1 | Software
No Media Required | 1 | Software
OpenManage Enterprise Advanced Plus | 1 | Others
Secure Enterprise Key Manager License 3.0 | 1 | Software
Secured Component Verification | 1 | Software
iDRAC10, Datacenter 17G | 1 | Others
Dell Connectivity Client - Enabled | 1 | Hardware
Dell Connectivity Module 17G | 1 | Others
Quick Sync Type Left Ear Module | 1 | Hardware
iDRAC Force Change Password for OCP cards | 1 | Hardware
ReadyRails Sliding Rails (A15) | 1 | Hardware
PowerEdge Shipping EMEA1 (English/French/German/Spanish/Russian/Hebrew) | 1 | Hardware
PowerEdge R470 Shipping | 1 | Hardware
PowerEdge 1U Shipping Material | 1 | Hardware
PowerEdge CCC, CE Label Marking | 1 | Hardware
Dell EMC PowerEdge SFP+ SR Optic 10GbE 850nm | 2 | Hardware
Next Business Day 36MONTHS | 1 | Services
ProSupport Next Business Day Onsite Service Initial, 36 Måned(er) | 1 | Services
ProSupport Next Business Day Onsite Service Extension, 48 Måned(er) | 1 | Services