# Tender Document # Open procedure over the EU Procurement Thresholds (FOA Part I and III) # for the procurement of: # name of procurement

ANSK-26-0135: Ultrafast spectroscopy system

Table of contents

1	Appendix 4 - Administrative provisions	3

1.1	Terms of delivery	3

1.2	Place of delivery	3

2	Appendix 5 - Testing and approval	3

2.1	Introduction	3

3	Appendix 7 - Buyer´s technical platform	4

4	Appendix 8 - Options	4

5	Appendix 9 - Changes of the delivery subsequent to the formation of the Contract	5

# Appendix 4 - Administrative provisions

## Terms of delivery

Delivery shall take place in accordance with DAP/DDP (Incoterms 2020) at the place of delivery as specified below. The supplier shall ensure that the equipment is sufficiently insured until the takeover formally takes place by the buyer and the SAT is completed, as well as the signed approval protocol (see Appendix 5).

## Place of delivery

NTNU

Department of xxxxx

<Street Address>

NO-XXXX Trondheim

Norway

Kjemi - Gløshaugen:
Høgskoleringen 5, Realfagbygget, D2-101

# Appendix 5 - Testing and approval

## Introduction

The Supplier’s deliveries in connection with the procurement shall be approved by the Buyer before the delivery is regarded as completed. The Supplier is obligated to arrange for the Buyer to perform testing of the solution as a basis for this approval.

Testing

The tests will include:

- functional tests,

- performance measurements,

- testing of converted data

- system integrations

- superior system tests

The performance measurements will be carried out in ordinary operational situations with real data in the system. Performance measurements shall be carried out using equipment set up in accordance with specifications agreed between the Parties. All deviation, errors and defects that are discovered shall be reported immediately to the Supplier using a deviation form. The deviation notification shall contain as detailed information as possible about the deviation. The Supplier is obligated to start the work on correcting the error or defect immediately, alternatively make a suggestion for solution.

Phase 1 - Factory Acceptance Test (FAT)

The supplier should/shall document that FAT has been conducted according to international regulations for FAT (if applicable) e.g. IEC 61551.

Phase 2 - Site Acceptance Test (SAT)

The supplier is obligated to perform the SAT after assembly and installation has been made. The buyer shall have the right to have professionals and technical professionals present during the assembly/installation and during the SAT.

The supplier is required to present the planned steps in the SAT prior to the delivery:

We emphasize that final delivery is considered to be the date when the complete acceptance test (SAT) is completed and approved by both parties.

Any deviations in the implementation of the SAT and formal takeover must be stated in the approval protocol (attached) and a plan must be specified for correcting these errors/deficiencies in the approval protocol.

# Appendix 7 - Buyer´s technical platform

If there are special circumstances which the buyer should be informed about, the tenderer should specify this here (i.e. electrical needs, lights, ventilation needs, building requirements etc.):

If the above mentioned requirements listed by the supplier, will have a cost effect on the offer given, the buyer should have the right to adjust the total cost of the offered equipment according to the listed requirements from the supplier after the contract has been awarded.

All elements need to be disclosed in order to make a seamless installation according to the supplier’s/systems requirements.

# Appendix 8 - Options

All requirements that are referred to as options/optional shall be described and priced  in Appendix 3, Table 2.

All available options shall be valid for a period of up to 5 -five- years after both parties have formally signed the contract and the approval protocol.

# Appendix 9 - Changes of the delivery subsequent to the formation of the Contract

All changes to or additions to the Contract subsequent to the Contract formation shall be listed in the table below.

The change catalogue shall be kept continuously by date. It shall be stated who initiated the change.

In the column “Date” the date of enforcement of the change shall be stated.

In the column “Initiated by” it shall be stated which of the parties requested the change.

In the column “Reference”, the reference to the place in the contract where the change or amendment belongs shall be stated.

In the column “Change” the text changing the existing text shall be inserted.

In the column “Addition” the text that is added to the contract shall be stated.

In the column “Change” the following formatting shall be used:

Striked out text = deleted text

Bolded text = new text

| Date | Initiated by | Reference | Change | Addition |
| --- | --- | --- | --- | --- |